## Result
Sensor State as on | [12 empty] | Weekly Sensor Status KPI | 86.55% |  | 85 | 95 | 95 |  |  | 42766.457 |  |  | 1 | 2 | 3 | 4 | 5
|  |  | Monitoring |  |  |  | Up Time |  |  |  | OPC Data |  |  |  |  | Sensor weekly state
Sensor | Y | M | W | D | Y | M | W | D | Y | M | W | D | Reason | Ticket No | Corrective Action | On? | Impact? | Weekly OK? | Monthly OK? | Focus and Zoom | Dirty Lens | Sunlight | Run_Signals | Customer_View |  |  |  |  | Integrity Check date | APC Control | Comment | Minutes | PFD | Bi-weekly | Mini TVA | Dashboard | Reference status | Established client contact | Additional Actions | Date | S3MS Team member | Prority
[13 empty] | ABU |  | 0% | [17 empty] | ABU
ang_abmr_feed1_lynxx_001 | 51.7911 | 94.6153 | 95.3756 | 95.4152 | 89.592 | 92.8188 | 95.4451 | 93.4174 | 62.4233 | 99.9949 | 99.9998 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 4 |  |  |  |  | 07/08/2019 | Y | Turn into a reference story | [5 empty] | Prioritized |  | Educate site with HQ support |  | Robbie
ang_abmr_server_aisabmrlynx01 | 68.5742 | 92.2609 | 93.6873 | 94.36 | 99.0908 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | ACP |  | 100% | [17 empty] | ACP
ang_wacp_feed1_fcd_001 | 90.018 | 94.7471 | 95.7141 | 95.8331 | 99.7091 | 99.996 | 99.9998 | 99.9988 | 96.9709 | 99.9924 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | N/A | 4 | [9 empty] | 42795 |  |  |  | Adele |  |  | Carl
ang_wacp_server_aiswacplynx01 | 90.3355 | 92.0252 | 93.3891 | 92.5312 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
[13 empty] | KHU | 6 Sensors | 66.67% | [17 empty] | KHU
asm_khu_jb41_lynxx_an61 | 86.5252 | 92.2289 | 95.8719 | 95.8315 | 99.4753 | 100 | 99.9998 | 99.9988 | 98.799 | 99.2373 | 98.8461 | 98.5178 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | Bad | 5 |  |  |  |  | 07/08/2019 |  |  |  | x | 0 | 0 | 0 | Approved | 0 | 0 | 0 | 0 | 0
asm_khu_jb45_lynxx_an40 | 86.4934 | 92.311 | 95.8851 | 95.9693 | 97.8091 | 94.6119 | 87.5422 | 88.0469 | 98.7912 | 99.4319 | 99.1096 | 99.1289 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | Bad | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an27 | 86.0085 | 92.275 | 95.8861 | 95.8312 | 99.4302 | 99.9614 | 99.8456 | 99.9988 | 98.8174 | 99.7154 | 99.4105 | 99.1304 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an38 | 86.5374 | 92.359 | 95.9849 | 95.971 | 99.4617 | 100 | 99.9998 | 99.9988 | 98.6389 | 99.1126 | 98.6613 | 98.231 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an47 | 86.5167 | 92.2951 | 95.8601 | 95.8 | 78.6617 | 98.6514 | 94.6058 | 62.2408 | 98.9669 | 99.6366 | 99.5404 | 99.0259 |  |  |  | 1 | low | FALSE | TRUE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an57 | 85.9999 | 92.383 | 95.923 | 95.9662 | 89.7917 | 91.3646 | 99.9998 | 99.9988 | 98.6453 | 99.1334 | 98.5779 | 98.3751 |  | MS-10664 |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_pp10_lynxx_an080 | 82.7598 | 91.448 | 95.369 | 94.1661 | 27.8077 | 83.1484 | 85.3292 | 92.2057 | 97.5091 | 97.7023 | 97.6154 | 95.5658 |  |  | Sensor installed ,Rocky to do adjustments | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 3 |  |  |  |  | 07/08/2019
asm_khu_pp20_lynxx_an295 | 82.8855 | 92.4289 | 96.0093 | 95.8323 | 10.8352 | 14.4184 | 15.4073 | 4.9421 | 97.7689 | 99.938 | 99.9378 | 99.9263 |  |  | Sensor installed ,Rocky to do adjustments | 0 | low | FALSE | FALSE | OK | OK | Sunlight | OK | 3 |  |  |  |  | 07/08/2019
asm_khu_server_ikhppsd1 | 84.1045 | 92.0336 | 95.5374 | 95.6493 | 93.1844 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
asm_khu_server_ikhppsd2 | 86.1373 | 92.0026 | 95.5432 | 95.9201 | 99.594 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
FQM | [12 empty] | FQM | 38 Sensors | 100% | [19 empty] | FQM
fqm_kan_1004_cvpsa_001 | 90.3472 | 92.4039 | 96.1167 | 95.9592 | 97.7327 | 100 | 99.9998 | 99.9988 | 90.7527 | 98.9052 | 99.1169 | 99.7089 |  |  |  | 1 | low | TRUE | TRUE | N/A | N/A | N/A | OK | 5 | [8 empty] | x | 42767 |  |  | Approved
fqm_kan_1007_cvpsa_001 | 90.3362 | 92.4497 | 96.0652 | 95.827 | 93.1199 | 98.8764 | 99.7679 | 99.9988 | 94.3594 | 99.661 | 99.8243 | 99.8901 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1007_cvpsa_002 | 90.061 | 92.3566 | 96.0332 | 95.9488 | 94.316 | 98.1826 | 98.1669 | 98.3207 | 65.3762 | 99.8626 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1010_cvpsa_001 | 90.0246 | 92.4034 | 96.0805 | 95.6778 | 91.8727 | 98.5328 | 98.9864 | 99.9988 | 89.9427 | 99.7066 | 99.8554 | 99.8901 |  |  |  | 1 | low | TRUE | TRUE | Bad | OK | OK | OK | 5
fqm_kan_2303_cvpsa_001 | 89.9294 | 92.4904 | 96.0942 | 95.9492 | 50.9494 | 81.4687 | 95.8806 | 99.7501 | 72.9228 | 100 | 99.9998 | 99.9988 | Noisy Image | MS-10584 |  | 1 | high | TRUE | FALSE | OK | Dirty Lens | OK | OK | 5
fqm_kan_1012_cvpsa_001 | 90.1247 | 92.4093 | 96.1232 | 95.8253 | 96.2908 | 99.5076 | 99.9998 | 99.9988 | 60.8121 | 0 | 0 | 0 | Verifcation tag not updating |  | Cron to fix the verifcation tag | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
fqm_kan_1201_cvpsa_001 | 90.2571 | 92.5187 | 96.0883 | 95.826 | 90.9456 | 94.2722 | 96.5568 | 99.9988 | 92.0014 | 99.6172 | 99.6953 | 99.9626 |  |  |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5
fqm_kan_1202_cvpsa_001 | 84.6714 | 91.8807 | 96.0737 | 95.9546 | 97.6034 | 95.7197 | 96.5608 | 99.9988 | 94.9547 | 97.8181 | 99.5199 | 99.4921 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_2302_cvpsa_001 | 89.6117 | 92.4772 | 96.1172 | 95.9538 | 93.8541 | 96.3746 | 99.9998 | 99.9988 | 92.7186 | 99.73 | 99.845 | 99.9265 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_2306_cvpsa_001 | 90.1092 | 92.5255 | 96.1804 | 95.9632 | 96.6525 | 96.065 | 99.9998 | 99.9988 | 94.8676 | 99.7324 | 99.8449 | 99.8901 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1101_truck_stats_001 | 89.3641 | 92.4306 | 96.1262 | 95.8333 | 97.9017 | 99.9837 | 99.9346 | 99.9988 | 79.759 | 98.1056 | 98.379 | 99.1299 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1101_truck_stats_002 | 90.3891 | 92.4585 | 96.0842 | 95.8256 | 97.927 | 99.9784 | 99.9335 | 99.9988 | 90.4574 | 97.6979 | 99.2363 | 99.8538 |  |  |  | 1 | high | TRUE | TRUE | N/A | N/A | N/A | OK | 5
fqm_kan_1101_cvpsa_001 | 90.3613 | 92.4855 | 96.106 | 95.9711 | 98.3709 | 99.9374 | 99.9792 | 99.9265 | 79.0077 | 99.1106 | 99.8453 | 99.9988 | OPC data errors/ maintance | MS-10296 |  | 1 | high | TRUE | TRUE | 0 | 0 | 0 | 0
fqm_kan_3700_ft_001 | 89.0462 | 92.6316 | 96.3463 | 96.2478 | 98.3031 | 99.9993 | 99.9998 | 99.9988 | 98.15 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_002 | 89.6469 | 92.621 | 96.267 | 96.1074 | 97.814 | 99.999 | 99.9998 | 99.9988 | 99.0168 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_003 | 89.0011 | 92.6687 | 96.3051 | 96.1079 | 98.4755 | 99.9939 | 99.9759 | 99.9988 | 98.9656 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_004 | 89.0839 | 92.6881 | 96.3457 | 96.109 | 99.1871 | 99.9993 | 99.9998 | 99.9988 | 98.5049 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_005 | 89.5901 | 92.6838 | 96.3461 | 96.1086 | 98.1613 | 99.9977 | 99.9998 | 99.9988 | 98.8781 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_006 | 89.6881 | 92.6453 | 96.3463 | 96.1067 | 99.4835 | 99.9993 | 99.9998 | 99.9988 | 98.9911 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_30_ft_3001 | 89.6104 | 92.4537 | 96.1482 | 95.8283 | 97.9417 | 99.937 | 99.9406 | 99.9988 | 99.9985 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3002 | 89.6099 | 92.4777 | 96.2077 | 95.9676 | 98.0198 | 99.956 | 99.9367 | 99.9988 | 99.9927 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3003 | 89.6333 | 92.473 | 96.1884 | 95.9678 | 97.9792 | 99.9377 | 99.9378 | 99.9988 | 99.9928 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3004 | 89.5914 | 92.5211 | 96.2088 | 95.9718 | 97.9323 | 99.9515 | 99.9449 | 99.9988 | 99.9927 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3005 | 89.5002 | 92.4879 | 96.2285 | 96.1102 | 97.4215 | 99.9414 | 99.94 | 99.9988 | 99.9928 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | N/A | OK | OK | OK | 5
fqm_kan_30_ft_3006 | 89.4761 | 92.5455 | 96.2883 | 96.1108 | 97.777 | 99.9349 | 99.9514 | 99.9988 | 99.9928 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_35_ft_3541 | 81.6605 | 88.2713 | 96.2663 | 95.9679 | 99.3849 | 99.9977 | 99.9986 | 99.9988 | 90.3765 | 94.9922 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | Dirty Lens | OK | OK | 5
fqm_kan_35_ft_3542 | 89.7009 | 92.585 | 96.3086 | 96.1106 | 96.9585 | 99.9883 | 99.9934 | 99.9731 | 99.9985 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_35_ft_3545 | 89.66 | 92.6169 | 96.3068 | 96.1098 | 99.4138 | 99.9975 | 99.9998 | 99.9988 | 99.992 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | Dirty Lens | OK | OK | 5
fqm_kan_35_ft_3546 | 89.5099 | 92.6283 | 96.3087 | 96.1111 | 99.4145 | 99.981 | 99.9696 | 99.9988 | 99.9918 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_333_ft_21 | 91.2306 | 92.4778 | 96.2077 | 95.9722 | 99.6556 | 99.9876 | 99.9752 | 99.9988 | 99.7868 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_22 | 91.2785 | 92.4727 | 96.2066 | 95.9672 | 99.6553 | 99.9949 | 99.9955 | 99.9988 | 99.7868 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_23 | 91.2993 | 92.5062 | 96.2466 | 96.1069 | 99.6538 | 99.9928 | 99.9967 | 99.9988 | 99.7867 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_24 | 91.3177 | 92.5351 | 96.2274 | 95.9716 | 99.6569 | 99.988 | 99.9728 | 99.9988 | 99.7867 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_25 | 91.3684 | 92.5109 | 96.1875 | 95.9682 | 99.6533 | 99.9901 | 99.9934 | 99.9988 | 99.7867 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_26 | 91.4285 | 92.5079 | 96.2489 | 95.9721 | 99.7091 | 99.9908 | 99.9762 | 99.9988 | 99.7867 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_cc01 | 91.4009 | 92.4941 | 96.2688 | 96.1107 | 99.7107 | 99.9939 | 99.9766 | 99.9988 | 99.7865 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_cc02 | 91.4191 | 92.5079 | 96.2489 | 95.9721 | 98.3733 | 99.95 | 99.9239 | 99.9988 | 99.7865 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_jc01 | 91.4909 | 92.5505 | 96.2483 | 95.9699 | 98.8244 | 99.9968 | 99.9994 | 99.9988 | 99.7865 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_jc02 | 91.5136 | 92.5317 | 96.2886 | 96.1087 | 99.6626 | 99.9977 | 99.9998 | 99.9988 | 99.7864 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_server_frothsensor | 88.823 | 92.1734 | 95.5385 | 96.0255 | 99.3466 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
fqm_kan_server_ml | 89.4417 | 92.2631 | 96.0246 | 96.0069 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
fqm_kan_server_vm_system_health | 89.6436 | 92.1305 | 95.7097 | 96.1007 | 98.2113 | 99.9345 | 99.7381 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | GRS | 15 Sensors | 93.33% | [17 empty] | SIS
aco_grs_primary_ft_001_inner | 90.6633 | 94.6611 | 95.1948 | 95.1378 | 94.3336 | 99.1641 | 99.9591 | 99.7134 | 98.7442 | 96.531 | 99.9998 | 99.9988 |  |  | Henko to feed back | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y | [6 empty] | Done |  | Robbie to introduce us to the correct people for a Bi-weekly | 42767 | Robbie
aco_grs_primary_ft_001_outer | 90.3071 | 94.5554 | 95.1952 | 95.1379 | 84.8419 | 99.1652 | 99.9585 | 99.7099 | 97.7392 | 93.8893 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_002_inner | 91.344 | 94.7231 | 95.2152 | 95.1384 | 95.9271 | 99.1692 | 99.9624 | 99.7368 | 98.514 | 93.8767 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_002_outer | 91.4756 | 94.6902 | 95.2751 | 95.2769 | 95.5215 | 99.1683 | 99.9627 | 99.7391 | 98.4707 | 93.7432 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | Laser out of ROI | OK | OK | APET's Method | 3 | [5 empty] | Y
aco_grs_primary_ft_003_inner | 91.4329 | 94.4021 | 95.236 | 95.1382 | 99.8879 | 99.1717 | 99.9652 | 99.7562 | 98.9753 | 94.2302 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_003_outer | 91.4508 | 94.6898 | 95.2546 | 95.1386 | 99.8834 | 99.1683 | 99.9624 | 99.7369 | 99.1777 | 95.08 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 3 | [5 empty] | Y
aco_grs_primary_ft_004_inner | 91.4543 | 94.1024 | 95.2559 | 95.1382 | 95.8591 | 99.1712 | 99.965 | 99.7552 | 99.3617 | 99.9949 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_004_outer | 86.4536 | 94.5505 | 95.2151 | 95.1355 | 63.8714 | 99.1716 | 99.9704 | 99.7925 | 99.9515 | 99.7915 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_001_inner | 91.5231 | 94.6231 | 95.1975 | 95.1383 | 95.8897 | 99.1684 | 99.9626 | 99.7384 | 98.4115 | 93.7614 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_001_outer | 91.5118 | 94.699 | 95.2141 | 95.1385 | 96.7608 | 99.1678 | 99.9632 | 99.7424 | 98.4466 | 93.9032 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_002_inner | 91.5341 | 94.6324 | 95.1354 | 95.2775 | 96.7374 | 99.1699 | 99.9628 | 99.7394 | 98.4744 | 93.903 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_002_outer | 91.4672 | 94.3923 | 95.1331 | 95.1285 | 95.2754 | 84.8213 | 40.5318 | 0 | 98.8631 | 96.7968 | 99.9998 | 99.9988 |  |  |  | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_003_inner | 91.4307 | 94.4665 | 95.1903 | 95.1353 | 70.1796 | 0 | 0 | 0 | 99.893 | 100 | 99.9998 | 99.9988 | Camera offline | MS-10277 | Joseph awaiting for site trip | 0 | high | FALSE | FALSE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_003_outer | 91.5332 | 94.6648 | 95.1751 | 95.1387 | 97.4816 | 99.1664 | 99.9622 | 99.7352 | 99.355 | 95.0278 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_004_inner | 91.5425 | 94.7081 | 95.1557 | 95.1388 | 96.7344 | 99.1672 | 99.9625 | 99.7378 | 98.7141 | 93.9208 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | Ok | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_004_outer | 91.5858 | 94.752 | 95.2154 | 95.1335 | 93.7526 | 99.1657 | 99.9621 | 99.7345 | 99.3918 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_server_froth | 88.2639 | 92.1098 | 93.8872 | 94.0567 | 99.9947 | 99.9347 | 99.9998 | 99.9988 | N/A | N/A | N/A | [8 empty] | N/A | N/A | N/A | N/A
[13 empty] | DSN |  | 92.86%
aco_dsn_ft_601_inner | 90.9285 | 90.9141 | 90.8327 | 90.8322 | 98.325 | 99.7579 | 99.6708 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_601_outer | 91.9283 | 91.0147 | 91.0113 | 90.8333 | 95.3603 | 99.7575 | 99.678 | 99.9988 | 99.3969 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_602_inner | 91.9462 | 91.0002 | 90.9121 | 90.6944 | 95.3578 | 99.7558 | 99.6667 | 99.9988 | 99.3967 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_602_outer | 91.9686 | 91.0386 | 90.9717 | 90.8325 | 95.361 | 99.7572 | 99.6749 | 99.9988 | 99.3967 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_621_inner | 91.9818 | 91.0768 | 90.9913 | 90.9718 | 95.3619 | 99.7582 | 99.675 | 99.9988 | 99.3969 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_621_outer | 91.9912 | 91.0672 | 91.0307 | 90.832 | 93.2183 | 99.7579 | 99.6752 | 99.9988 | 99.397 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | Ok | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_622_inner | 91.9758 | 91.0912 | 91.0507 | 90.9722 | 95.3616 | 99.7587 | 99.6787 | 99.9988 | 99.3973 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_622_outer | 91.9851 | 91.1104 | 91.0708 | 90.972 | 95.3606 | 99.7585 | 99.6779 | 99.9988 | 99.3969 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_ft_641_inner | 91.9854 | 91.1008 | 91.0508 | 90.8333 | 95.3612 | 99.7576 | 99.6752 | 99.9988 | 99.3973 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_641_outer | 91.1695 | 91.096 | 91.0112 | 90.6943 | 95.3374 | 99.7577 | 99.6779 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_ft_642_inner | 92.0111 | 91.1104 | 91.0707 | 90.9717 | 95.3621 | 99.757 | 99.6757 | 99.9988 | 99.397 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_ft_642_outer | 92.0141 | 91.1103 | 91.0707 | 90.972 | 95.3596 | 99.7579 | 99.6759 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_308_cvpsa_001 | 85.2432 | 90.6782 | 90.5481 | 90.8277 | 99.9931 | 99.9979 | 99.9998 | 99.9988 | 98.5889 | 99.996 | 99.9889 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_309_cvpsa_001 | 86.7118 | 75.6424 | 67.0328 | 62.0947 | 99.9929 | 99.9981 | 99.9998 | 99.9988 | 98.5894 | 99.9973 | 99.9998 | 99.9988 | run signal issue |  | to be investigated | 1 | med | FALSE | FALSE
aco_dsn_server_frothsensor | 91.3506 | 90.7161 | 90.8107 | 90.8854 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | Capcoal | 9 Sensors | 100% | [17 empty] | Capcoal
aco_ccl_ft_fb001 | 91.9947 | 94.7279 | 94.9399 | 94.7219 | 99.2595 | 99.9363 | 99.9998 | 99.9988 | 99.9947 | 99.9346 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb002 | 93.2968 | 94.8136 | 95.0391 | 94.9997 | 99.2643 | 99.9329 | 99.9939 | 99.9988 | 99.9947 | 99.9346 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb003 | 93.347 | 94.8374 | 94.9795 | 94.8603 | 99.2652 | 99.9355 | 99.9998 | 99.9988 | 99.9746 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb004 | 93.4456 | 94.8377 | 95.0391 | 94.9995 | 99.2663 | 99.9347 | 99.9998 | 99.9988 | 99.9746 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb005 | 93.3855 | 94.891 | 95.0588 | 94.9989 | 98.3518 | 99.93 | 99.9941 | 99.9988 | 99.9746 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb006 | 93.5967 | 94.8901 | 95.0987 | 94.9997 | 98.3598 | 99.9316 | 99.9939 | 99.9988 | 99.9746 | 99.6952 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fc601 | 93.1687 | 94.9219 | 95.1185 | 94.9991 | 94.341 | 69.1645 | 99.9998 | 99.9988 | 99.1463 | 99.6956 | 99.9998 | 99.9988 |  |  | Resolved | 1 | med | TRUE | FALSE | OK | OK | OK
aco_ccl_ft_fc602 | 92.7606 | 94.908 | 95.1384 | 94.9997 | 94.3409 | 69.1635 | 99.9998 | 99.9988 | 98.8345 | 99.6952 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | FALSE | OK | OK | OK
aco_ccl_ft_fc621 | 93.0925 | 94.9119 | 95.1185 | 94.999 | 96.4962 | 69.1622 | 99.9998 | 99.9988 | 99.6609 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | FALSE | OK | OK | OK
aco_ccl_server_frothsensor | 92.7229 | 94.5637 | 94.7381 | 94.8125 | 95.2837 | 93.1034 | 99.9998 | 99.9988 | [11 empty] | OK | OK | OK
[13 empty] | SIS | 8 Sensors | 100% | [17 empty] | SIS
kio_sis_j141_lynxx_001 | 92.2279 | 95.4906 | 96.2476 | 96.1084 | 96.1939 | 99.6228 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | Dust | OK | OK | 5 | [5 empty] | Y | Louis to engage with Mpumi on a reference story |  |  | 42736 |  |  | Waiting approval
kio_sis_j142_lynxx_001 | 92.2571 | 95.5049 | 96.2674 | 95.9694 | 88.1154 | 99.4226 | 99.6693 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | Sunlight | OK | 5 | [5 empty] | Y
kio_sis_j143_lynxx_001 | 92.2587 | 95.5479 | 96.2473 | 96.1065 | 99.855 | 99.912 | 99.9957 | 99.9699 | 99.4196 | 99.1497 | 97.3037 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | Dust | OK | OK | 5 | [5 empty] | Y
kio_sis_j144_lynxx_001 | 92.2605 | 95.5336 | 96.3071 | 96.1084 | 98.9275 | 99.9163 | 99.9978 | 99.9988 | 99.622 | 99.473 | 97.909 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | OK | OK | 5 | [5 empty] | Y
kio_sis_j153_lynxx_001 | 92.2896 | 95.5001 | 96.3071 | 96.2473 | 98.5894 | 99.7912 | 99.9827 | 99.9026 | 99.8913 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | OK | OK | 4 | [5 empty] | Y |  |  |  | 42736
kio_sis_j251_lynxx_001 | 91.5057 | 95.5145 | 96.2836 | 96.2485 | 95.4469 | 99.8551 | 99.9761 | 99.9868 | 98.0534 | 99.915 | 99.8866 | 99.8543 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | Sunlight | OK | 4 | [5 empty] | Y
kio_sis_jigeast_truckpsa_stats_001 | 82.7797 | 88.6383 | 96.3034 | 96.1049 | 97.0071 | 99.6649 | 99.3024 | 99.6444 | 91.7676 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
kio_sis_jigpocket_cvpsa_001 | 81.6556 | 88.6451 | 96.2605 | 96.0688 | 61.878 | 19.47 | 17.172 | 20.9255 | 67.2711 | 95.197 | 99.9895 | 99.9988 | Commisioning still ongoing. | MS-9535 | Handover to support in progress | 0 | med | FALSE | FALSE
kio_sis_jigwest_truckpsa_stats_001 | 82.4301 | 88.9922 | 96.3033 | 96.1074 | 96.8702 | 99.284 | 99.2509 | 99.7655 | 91.7152 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
kio_sis_jig_server_health_truck_system_health | 80.8828 | 87.4579 | 95.6147 | 95.5475 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
kio_sis_server_sisstone3 | 89.828 | 92.9972 | 95.2978 | 95.9722 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [8 empty] | N/A | N/A | N/A
[13 empty] | KOL |  | 0% | [17 empty] | SIS
ang_kol_truck_stats_001 | 82.512 | 94.2347 | 91.3939 | 95.4106 | 65.8159 | 64.0525 | 0.81205 | 3.7102 | 99.1747 | 100 | 99.9998 | 99.9988 | camera timeout | MS-10892 | Rocky investigating | 1 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5 | [5 empty] | Y
ang_kol_truck_stats_002 | 84.5776 | 94.1423 | 91.3972 | 95.4111 | 86.7573 | 63.2416 | 0.057698 | 0.18216 | 90.0738 | 87.8529 | 99.9998 | 99.9988 | camera timeout | MS-10893 | Rocky investigating | 1 | med | FALSE | FALSE | OK | Dust | OK | OK | 5 | [5 empty] | Y
ang_kol_pocket_cvpsa_001 | 81.0559 | 95.2017 | 95.4401 | 95.409 | 57.1885 | 57.7241 | 25.0685 | 0 | 49.4218 | 86.909 | 99.979 | 99.9988 | always dirty |  |  | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5 | [5 empty] | Y
ang_kol_server_truck | 82.3566 | 94.8267 | 94.8991 | 94.3808 | 98.3514 | 100 | 99.9998 | 99.9988 | [11 empty] | OK | Dust | OK | OK | 5 | [5 empty] | Y | Louis to engage with Mpumi on a reference story |  |  | 42736 |  |  | Waiting approval
[13 empty] | MGN | 47 Sensors | 70.21% | [17 empty] | MGN
ang_mgn_440_ft_001 | 90.6789 | 94.4578 | 95.274 | 95.4166 | 96.9882 | 99.9784 | 99.9983 | 99.9988 | 92.762 | 99.1035 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y | [6 empty] | Done |  | Robbie to introduce us to the correct people for a Bi-weekly | 42767 | Robbie
ang_mgn_440_ft_001_inner | 90.8227 | 94.5462 | 95.2943 | 95.4129 | 92.895 | 99.9878 | 99.9964 | 99.9988 | 95.0195 | 78.4283 | 78.4723 | 99.9988 |  |  |  | 1 | low | TRUE | FALSE
ang_mgn_440_ft_002 | 90.9174 | 94.445 | 95.3142 | 95.413 | 98.4303 | 99.9909 | 99.9998 | 99.9988 | 92.0813 | 89.7781 | 84.3452 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_002_inner | 90.924 | 94.3338 | 95.3546 | 95.5532 | 95.1922 | 99.9882 | 99.9996 | 99.9988 | 95.0197 | 78.4289 | 78.4719 | 99.9988 |  |  |  | 1 | low | TRUE | FALSE
ang_mgn_440_ft_003 | 90.9763 | 94.3918 | 95.194 | 94.7181 | 98.419 | 99.9841 | 99.999 | 99.9988 | 92.2992 | 92.3745 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_004 | 90.9937 | 94.5171 | 95.2751 | 95.1348 | 76.8314 | 99.986 | 99.9988 | 99.9988 | 96.3784 | 94.7405 | 99.1219 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | Laser out of ROI | OK | OK | APET's Method | 3 | [5 empty] | Y
ang_mgn_440_ft_005 | 90.992 | 94.4159 | 95.215 | 94.9968 | 96.5573 | 99.9726 | 99.9989 | 99.9988 | 88.8246 | 92.2022 | 99.101 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_006 | 91.0103 | 94.3722 | 95.1953 | 94.7199 | 98.8579 | 99.9686 | 99.9986 | 99.9988 | 88.7518 | 88.6771 | 84.3344 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 3 | [5 empty] | Y
ang_mgn_440_ft_007 | 90.9399 | 94.3724 | 95.2569 | 95.2757 | 98.8587 | 99.986 | 99.9988 | 99.9988 | 89.696 | 88.607 | 84.3029 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_008 | 90.9528 | 94.4642 | 95.2553 | 95.4139 | 98.8584 | 99.9678 | 99.9979 | 99.9988 | 92.7571 | 92.2027 | 98.1709 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_009 | 90.978 | 94.5214 | 95.0579 | 94.7211 | 95.3627 | 89.9289 | 99.9989 | 99.9988 | 91.9731 | 93.4754 | 99.8535 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_010 | 90.9968 | 94.6311 | 95.2357 | 95.4144 | 95.4172 | 89.9061 | 99.9977 | 99.9988 | 90.0248 | 90.0252 | 84.3345 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_011 | 91.0112 | 94.5786 | 95.2145 | 95.2769 | 95.74 | 89.9108 | 99.9988 | 99.9988 | 92.7484 | 92.5676 | 99.8013 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_012 | 90.9977 | 94.4601 | 95.1371 | 95.2765 | 98.8745 | 99.967 | 99.9937 | 99.9988 | 90.6633 | 92.7057 | 99.9894 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_013 | 90.9998 | 94.5174 | 95.277 | 95.416 | 96.9998 | 99.9663 | 99.9986 | 99.9988 | 92.8758 | 97.5461 | 99.9894 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_014 | 90.9997 | 94.627 | 95.2764 | 95.4163 | 97.4557 | 89.9058 | 99.9998 | 99.9988 | 91.9674 | 96.0266 | 99.9894 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_015 | 91.0102 | 94.6224 | 95.2937 | 95.2734 | 79.1855 | 99.9664 | 99.9976 | 99.9988 | 91.3176 | 92.7196 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | Ok | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_016 | 90.9807 | 94.5363 | 95.2947 | 95.4153 | 97.2517 | 99.9586 | 99.9988 | 99.9988 | 90.6766 | 94.6589 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_017 | 91.0297 | 94.2195 | 95.2736 | 95.4118 | 98.4284 | 99.9572 | 99.9984 | 99.9988 | 91.3041 | 98.8819 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_018 | 91.0193 | 94.5075 | 95.2733 | 95.4122 | 98.8473 | 99.96 | 99.9993 | 99.9988 | 91.4079 | 97.4025 | 99.8645 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_019 | 91.0318 | 94.6518 | 95.2756 | 95.275 | 96.5716 | 99.9899 | 99.9989 | 99.9988 | 93.7236 | 99.8816 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_020 | 91.0399 | 94.6847 | 95.3536 | 95.413 | 98.8106 | 99.9755 | 99.9991 | 99.9988 | 92.6289 | 99.7484 | 99.5003 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_021 | 91.0674 | 94.6269 | 95.3933 | 95.4134 | 98.8126 | 99.9749 | 99.9983 | 99.9988 | 91.9158 | 97.2428 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_022 | 90.2552 | 94.5552 | 95.3542 | 95.2752 | 96.4921 | 99.9746 | 99.9971 | 99.9988 | 88.5198 | 96.0664 | 84.3089 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_023 | 91.0924 | 94.5891 | 95.4736 | 95.4143 | 94.9538 | 99.9336 | 99.9973 | 99.9988 | 94.3705 | 96.8362 | 99.6236 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_024 | 91.067 | 94.6607 | 95.4541 | 95.4147 | 98.8162 | 99.9318 | 99.998 | 99.9988 | 92.8012 | 95.1308 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | Dirty Lens | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_025 | 91.0773 | 94.7186 | 95.4106 | 95.2758 | 91.3545 | 22.7015 | 0 | 0 | 92.9686 | 100 | 99.9998 | 99.9988 | Camera offline | MS-10754 | escilated to Sean | 0 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_026 | 91.0912 | 94.5891 | 95.4746 | 95.4151 | 98.5113 | 99.9309 | 99.9988 | 99.9988 | 91.8519 | 97.9911 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_027 | 91.1084 | 94.661 | 95.3931 | 95.4117 | 98.8137 | 99.9544 | 99.9991 | 99.9988 | 88.2934 | 93.506 | 84.309 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | Calibration | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_028 | 91.0671 | 94.6352 | 95.4104 | 95.4079 | 91.6437 | 22.6957 | 0 | 0 | 92.0631 | 100 | 99.9998 | 99.9988 | Camera offline |  | escilated to Sean | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_029 | 91.065 | 94.5718 | 95.468 | 95.4032 | 91.7501 | 22.6963 | 0 | 0 | 93.5698 | 100 | 99.9998 | 99.9988 | Camera offline |  | escilated to Sean | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_030 | 91.1055 | 94.6398 | 95.4688 | 95.4129 | 89.4092 | 22.6959 | 0 | 0 | 94.0678 | 94.2223 | 99.9998 | 99.9988 | Camera offline |  | escilated to Sean | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_033 | 79.2573 | 0 | 0 | 0 | 63.8205 | 0 | 0 | 0 | 99.7499 | 0 | 0 | 0 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_047 | 79.2724 | 0 | 0 | 0 | 63.8751 | 0 | 0 | 0 | 99.7506 | 0 | 0 | 0 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_pulp_008 | 64.2315 | 61.6815 | 95.4435 | 95.4027 | 46.5984 | 61.4012 | 63.9006 | 66.197 | 87.3688 | 0 | 0 | 0 | sensor will be upgraded to new hardware version | MS-6425 | Hardware to be possibly upgraded | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_440_pulp_009 | 65.6378 | 61.6538 | 95.4479 | 95.4103 | 39.0779 | 61.0586 | 62.9833 | 65.6317 | 88.7651 | 0 | 0 | 0 | sensor will be upgraded to new hardware version | MS-6425 | Site to clean on a weekly basis possible | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_volume_407_cv1_dynamic | 25.1998 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 73.4178 | 0 | 0 | 0 |  | MS-10587 | Douglas is investigating | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_volume_407_cv3_dynamic | 24.0943 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 99.9979 | 0 | 0 | 0 |  | MS-10527 | Douglas is investigating | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_width_407_cv1 | 44.4186 | 75.7284 | 95.6912 | 95.972 | 99.0727 | 100 | 99.9998 | 99.9988 | 73.3567 | 0 | 0 | 0 |  |  |  | 1 | high | FALSE | FALSE |  |  | N/A
ang_mgn_width_407_cv3 | 40.2397 | 49.7919 | 95.7696 | 95.9705 | 99.9608 | 100 | 99.9998 | 99.9988 | 70.2906 | 0 | 0 | 0 |  |  |  | 1 | high | FALSE | FALSE |  |  | N/A
ang_mgn_crusha_lynxx_001 | 92.5844 | 94.777 | 95.5535 | 95.4144 | 97.7635 | 100 | 99.9998 | 99.9988 | 93.211 | 87.6779 | 93.8811 | 88.1444 |  |  |  | 1 | low | FALSE | FALSE | N/A | N/A | N/A | OK | 3
ang_mgn_crushb_lynxx_001 | 92.5723 | 94.8149 | 95.5932 | 95.5549 | 99.8415 | 99.9998 | 99.9998 | 99.9988 | 93.1464 | 85.4504 | 82.0677 | 87.4923 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | N/A | OK | 3
ang_mgn_crushbfeed_lynxx_001 | 92.5999 | 94.9494 | 95.5733 | 95.1363 | 92.238 | 99.9998 | 99.9991 | 99.9988 | 93.0331 | 79.4787 | 70.2471 | 77.9307 |  |  |  | 1 | low | FALSE | FALSE | N/A | N/A | N/A | OK | 3
ang_mgn_hpgrfeed_lynxx_001 | 92.6185 | 94.9158 | 95.633 | 95.5535 | 100 | 100 | 99.9998 | 99.9988 | 93.3076 | 87.4478 | 87.3157 | 88.3486 |  |  |  | 1 | low | FALSE | FALSE | N/A | N/A | N/A | OK | 3 | [6 empty] | Calibration needed
ang_mgn_hpgrproduct_lynxx_001 | 92.6119 | 94.9348 | 95.5885 | 95.4112 | 92.9815 | 77.5866 | 90.2781 | 94.2087 | 92.4951 | 79.1416 | 63.5497 | 66.3371 |  |  |  | 1 | high | FALSE | FALSE | N/A | N/A | N/A | OK | 3 | [6 empty] | Calibration needed
ang_mgn_hpgrproduct_lynxx_002 | 92.6033 | 94.8698 | 95.5492 | 95.2738 | 99.7109 | 100 | 99.9998 | 99.9988 | 95.8994 | 99.5366 | 99.7195 | 99.9261 |  |  |  | 1 | high | TRUE | TRUE
ang_mgn_server_aispprlynxx01 | 89.9804 | 92.3647 | 94.0746 | 93.9491 | 99.9632 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
ang_mgn_server_aispprosa04 | 79.3021 | 81.6218 | 84.5908 | 84.7407 | 95.9047 | 86.4686 | 87.106 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
ang_mgn_server_health_system_health | 92.8985 | 95.5582 | 95.8457 | 95.8206 | 96.4432 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
ang_mgn_server_lynxxvolume | 53.9164 | 73.7737 | 93.5126 | 92.7083 | 92.7855 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [9 empty] | N/A
ang_mgn_pcrusheast_truckpsa_stats_001 | 92.3914 | 95.3864 | 94.9552 | 95.691 | 89.8878 | 99.8572 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrusheast_truckpsa_stats_002 | 66.9693 | 0 | 0 | 0 | 97.2196 | 0 | 0 | 0 | 100 | 100 | 99.9998 | 99.9988 |  |  | PTZ cameras not critical - ignore for now | 1 | med | FALSE | FALSE
ang_mgn_pcrusheast_truckpsa_stats_003 | 92.2398 | 95.3667 | 94.9547 | 95.6844 | 89.2724 | 99.8656 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrushwest_truckpsa_stats_001 | 92.8397 | 95.3433 | 95.015 | 95.83 | 97.9987 | 99.8242 | 99.8628 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrushwest_truckpsa_stats_002 | 67.1893 | 0 | 0 | 0 | 76.4637 | 0 | 0 | 0 | 100 | 100 | 99.9998 | 99.9988 |  |  | PTZ cameras not critical - ignore for now | 1 | med | FALSE | FALSE
ang_mgn_pcrushwest_truckpsa_stats_003 | 92.3222 | 95.3311 | 94.983 | 95.6852 | 88.3805 | 99.6244 | 99.237 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrushwest_truckvolume_stats_001 | 31.585 | 0 | 0 | 0 | 69.4975 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | Low RAM | MS- | Not in use | 0 | med | FALSE | FALSE
[13 empty] | MGS |  | 100% | [17 empty] | MGS
ang_mgs_102_lynxx_cv001 | 90.5409 | 90.6733 | 95.7924 | 95.6926 | 99.1492 | 97.3763 | 97.391 | 99.9988 | 98.2148 | 99.9932 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | OK | 5 | [8 empty] | x | 42705
ang_mgs_402_lynxx_cv004 | 90.5709 | 90.5805 | 95.7127 | 95.6939 | 96.1909 | 99.3913 | 99.9971 | 99.9964 | 99.5075 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | OK | 5
ang_mgs_402_lynxx_cv005 | 90.5845 | 90.5569 | 95.8126 | 95.6926 | 90.8534 | 97.5637 | 96.3798 | 95.6732 | 98.8993 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | OK | 5
ang_mgs_pcrusheast_truckpsa_stats_001 | 86.9168 | 38.6384 | 0 | 0 | 98.444 | 74.4794 | 0 | 0 | 97.0763 | 97.0763 | 94.5703 | 99.9988 | Commisioning still ongoing. |  | Analyte to write top_size_w to verify | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5 | [8 empty] | x | 42705
ang_mgs_pcrusheast_truckpsa_stats_002 | 32.6661 | 35.1618 | 0 | 0 | 0.0065668 | 0.0062392 | 0 | 0 | 97.0763 | 97.0763 | 94.5703 | 99.9988 | Commisioning still ongoing. |  | PTZ cameras not critical - ignore for now | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5
ang_mgs_pcrushwest_truckpsa_stats_001 | 87.2388 | 33.584 | 0 | 0 | 98.6595 | 88.0069 | 0 | 0 | 97.0721 | 97.0721 | 94.5624 | 99.9988 | Commisioning still ongoing. |  | Analyte to write top_size_w to verify | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5
ang_mgs_pcrushwest_truckpsa_stats_002 | 32.9654 | 38.4999 | 0 | 0 | 0.0055862 | 0.0025517 | 0 | 0 | 97.0763 | 97.0763 | 94.5703 | 99.9988 | Commisioning still ongoing. |  | PTZ cameras not critical - ignore for now | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5
ang_mgs_server_health_system_health | 45.7409 | 41.6419 | 95.6275 | 95.6875 | 100 | 99.9999 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | investigation to be done | [6 empty] | N/A | N/A | N/A | N/A
ang_mgs_server_aisppllynxx01 | 88.1577 | 88.2381 | 94.2024 | 94.8519 | 99.6128 | 95.3714 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | GDN |  | 100%
aco_gdn_cvpsa_001 | 90.5447 | 94.6379 | 95.1692 | 95.1294 | 97.2951 | 98.2361 | 99.9998 | 99.9988 | 99.3352 | 99.6935 | 99.9581 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | N/A | OK | 5
aco_gdn_server_system_health | 86.8679 | 91.7518 | 93.4656 | 92.75 | 99.8996 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
aco_gdn_server_system_health | 86.8679 | 91.7518 | 93.4656 | 92.75 | 99.8996 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A
[13 empty] | MOT | 4 Sensors | 100% | [17 empty] | MOT
ang_mot_feed1_lynxx_001 | 92.397 | 95.0451 | 95.6517 | 95.8304 | 98.7209 | 99.9591 | 99.9998 | 99.9988 | 99.8715 | 99.9874 | 99.9791 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_ft_001 | 91.8586 | 94.929 | 95.6112 | 95.6916 | 95.0091 | 99.3487 | 99.9966 | 99.9836 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_ft_002 | 91.9094 | 95.1113 | 95.7912 | 95.6922 | 99.874 | 99.36 | 99.9985 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_ft_003 | 91.9122 | 95.0061 | 95.6513 | 95.8284 | 99.8736 | 99.3411 | 99.9937 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_pulp_001 | 25.2583 | 58.9464 | 38.8839 | 0 | 97.6766 | 99.9554 | 99.9996 | 0 | 28.4769 | 62.3636 | 40.7094 | 0 | Pulp cameras over exposed | MS-10869 | Exposure lowered | 0 | low | FALSE | FALSE |  |  | N/A
ang_mot_440_pulp_002 | 27.4476 | 59.0782 | 38.8972 | 0 | 95.3093 | 99.9919 | 99.9402 | 0 | 30.6775 | 62.373 | 40.7198 | 0 | Pulp cameras over exposed |  | Exposure lowered | 0 | low | FALSE | FALSE |  |  | N/A
ang_mot_440_pulp_003 | 22.8166 | 58.9837 | 38.8806 | 0 | 99.9966 | 99.9999 | 99.9996 | 0 | 25.7036 | 62.3645 | 40.6849 | 0 | Pulp cameras over exposed |  | Exposure lowered | 0 | low | FALSE | FALSE |  |  | N/A
ang_mot_server_aismotlnx01 | 90.1997 | 92.5691 | 93.8702 | 95.5995 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
ang_mot_server_aismotlnx03 | 92.2048 | 95.1096 | 95.8328 | 95.5556 | 98.5294 | 85.3582 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | MOR | 8 Sensors | 100% | [17 empty] | MOT
aco_mor_primary_ft_301 | 92.5811 | 95.0567 | 95.1581 | 95.138 | 95.5112 | 99.9785 | 99.9793 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_302 | 93.5337 | 95.1383 | 95.2179 | 95.1388 | 95.552 | 99.9777 | 99.9741 | 99.8993 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_303 | 93.6238 | 95.1764 | 95.2969 | 95.2771 | 95.5655 | 99.9782 | 99.9776 | 99.9405 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_304 | 93.6011 | 95.1814 | 95.2574 | 95.1383 | 95.5361 | 99.9814 | 99.9905 | 99.9585 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_305 | 93.9407 | 95.2148 | 95.2773 | 95.1387 | 95.3848 | 99.9887 | 99.9915 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_306 | 93.6595 | 95.0519 | 95.3566 | 95.2776 | 95.566 | 99.9759 | 99.9869 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_secondary_ft_341 | 93.6725 | 95.0808 | 95.3765 | 95.2775 | 95.5293 | 99.9801 | 99.9752 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_secondary_ft_342 | 93.6861 | 95.0806 | 95.3962 | 95.2775 | 95.5092 | 99.9732 | 99.9734 | 99.9593 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_server_frothsensor | 89.0371 | 94.7922 | 94.872 | 94.8056 | 95.9377 | 94.221 | 99.9998 | 99.9988 | [11 empty] | N/A | N/A | N/A | N/A
HEX
ang_ph2_server_aisph2frs01 | 89.8288 | 94.1283 | 95.4383 | 95.2569 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A
[13 empty] | AUG |  | 100% | [17 empty] | AUG
rus_aug_crushprod_lynxx_001 | 95.7737 | 92.7185 | 96.3767 | 96.2291 | 99.3102 | 100 | 99.9998 | 99.9988 | 99.9967 | 99.9972 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42826
rus_aug_server_aughbauxitemon | 95.4935 | 92.3122 | 95.9358 | 96.0938 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
WMER
[13 empty] | WUG2 |  | #DIV/0! | [17 empty] | WUG2
ang_wug2_feed1_lynxx_001 | 90.7061 | 92.1892 | 95.8693 | 95.8316 | 99.9933 | 99.9982 | 99.9998 | 99.9988 | 71.8937 | 0.020739 | 0 | 0 | VPN accounts expired | MS-10212 | awaiting for approval | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 3 | [9 empty] | 42767
ang_wug2_server_aiswug2opa01 | 94.7572 | 91.8208 | 95.4929 | 95.0289 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | 3
[13 empty] | LET |  | #DIV/0! | [17 empty] | LET
gem_let_p1scrubberfeed_cvpsa_001 | 78.1748 | 38.8325 | 0.37382 | 0.51158 | 88.8462 | 53.4754 | 0 | 0 | 93.1013 | 100 | 99.9998 | 99.9988 | Network issues onn-site | MS-10854 | on-site IT attending the issue | 0 | low | FALSE | FALSE | OK | Off | OK | OK | 5 | [9 empty] | 42705 |  |  | Writing |  | Talk to client about reference story/ Introduced to client
gem_let_p2scrubberfeed_cvpsa_001 | 70.9168 | 31.8327 | 0.37383 | 0.51158 | 95.2128 | 53.5714 | 0 | 0 | 94.0002 | 100 | 99.9998 | 99.9988 | Network issues onn-site |  | on-site IT attending the issue | 0 | low | FALSE | FALSE | OK | Off | OK | OK | 5 | [14 empty] | Need a belt cut to sort out issues with calibration model |  | Jarien/Carl
gem_let_pca_truckpsa_stats_001 | 82.5703 | 92.6981 | 96.2675 | 96.1067 | 66.2556 | 50.4163 | 0.001733 | 0 | 65.5086 | 100 | 99.9998 | 99.9988 |  |  |  | 0 | low | FALSE | FALSE | OK | Off | OK | OK | 5
gem_let_server_health_system_health | 88.9545 | 92.3207 | 95.9823 | 95.7639 | 98.8911 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | LIQ |  | #DIV/0! | [17 empty] | LIQ
fsd_liq_100_lynxx_psa002 | 16.1819 | 0 | 0 | 0 | 96.072 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | SLA expired |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5 | [9 empty] | 42705
fsd_liq_server_mje852e1vr3 | 16.1263 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A | [14 empty] | VMA report (on Hold) | 42705 | Jarien
[13 empty] | KEV |  | 100% | [17 empty] | KEV
bol_kev_3110_truck_stats_crg01 | 65.3102 | 0 | 0 | 0 | 97.8318 | 0 | 0 | 0 | 77.1907 | 86.3832 | 99.9998 | 99.9988 | offline/ not tipping |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5 | [9 empty] | 42705
bol_kev_3110_truck_stats_crg02 | 31.0929 | 92.4062 | 96.0262 | 95.8318 | 99.9871 | 99.973 | 99.9488 | 99.8497 | 77.193 | 86.3865 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | FALSE | N/A | N/A | N/A | OK | 5 | [9 empty] | 42705
bol_kev_server_kevsrvlaser02 | 94.4567 | 91.6305 | 95.3181 | 94.4595 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A
[13 empty] | BRK | 10 Sensors | 60% | [17 empty] | BLC
asm_brc_nch2_lynxx_50ps20an46 | 83.5682 | 79.8556 | 45.1253 | 0 | 99.1621 | 98.4591 | 97.1656 | 0 | 98.4476 | 94.5729 | 78.2918 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch2_lynxx_50ps60an47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99.9993 | 99.9926 | 99.9998 | 99.9988 | site adviced to ignore NO ore |  |  | 0 | low | FALSE | FALSE | N/A | N/A | N/A | OK | 5
asm_brc_nch2_lynxx_50ps70an48 | 83.5782 | 79.9033 | 45.1208 | 0 | 54.6603 | 0 | 0 | 0 | 100 | 100 | 99.9998 | 99.9988 | Bad image | MS-9071 | Laser faulty will be attend next week | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch2_lynxx_50pw15an49 | 83.5919 | 79.9209 | 45.1497 | 0 | 99.4816 | 99.0924 | 97.1173 | 0 | 98.3765 | 94.5736 | 78.2943 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch2_lynxx_51jw64an02 | 83.5915 | 79.9001 | 45.1445 | 0 | 99.9443 | 99.999 | 99.9984 | 0 | 90.6165 | 94.5774 | 78.3097 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_50ls06an03 | 87.1684 | 82.6912 | 57.1393 | 95.8322 | 99.5614 | 99.737 | 98.9732 | 99.82 | 99.7138 | 99.5276 | 99.8817 | 99.9251 |  |  |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_50ls11an04 | 88.5642 | 82.7752 | 57.1397 | 95.8289 | 99.2428 | 98.5655 | 97.2053 | 99.6749 | 99.6757 | 99.6162 | 99.8219 | 99.6945 |  |  |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60pp05an42 | 89.8701 | 92.5247 | 96.1124 | 94.7385 | 99.3787 | 99.0987 | 97.7926 | 98.7377 | 96.9185 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60ps20an43 | 89.8748 | 92.5754 | 96.124 | 94.6829 | 99.6976 | 99.686 | 99.9612 | 99.9304 | 96.9198 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60ps25an44 | 89.8736 | 92.4997 | 96.088 | 94.7162 | 89.706 | 99.9566 | 99.982 | 99.9988 | 96.9197 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60pt25an45 | 89.8767 | 92.5428 | 96.1269 | 94.7057 | 99.2585 | 99.056 | 98.976 | 99.8277 | 96.9198 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_glo_70pn42an74_cvpsa_001 | 76.3028 | 91.4761 | 95.9662 | 95.831 | 97.0004 | 100 | 99.9998 | 99.9988 | 80.0284 | 100 | 99.9998 | 99.9988 | Back commissioning |  |  | 0 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_glo_70pn44an79_cvpsa_001 | 74.3007 | 73.4779 | 78.9289 | 64.6071 | 99.9655 | 100 | 99.9998 | 99.9988 | 79.8302 | 100 | 99.9998 | 99.9988 | Back commissioning |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_glo_70pn46an85_cvpsa_001 | 63.5418 | 14.2666 | 5.5615 | 4.6185 | 99.8501 | 100 | 99.9998 | 99.9988 | 77.2958 | 100 | 99.9998 | 99.9988 | Back commissioning |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_glo_70pn20an25_cvpsa_001 | 76.7256 | 91.5194 | 95.9277 | 95.8283 | 100 | 100 | 99.9998 | 99.9988 | 79.825 | 100 | 99.9998 | 99.9988 | Back commissioning |  |  | 0 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_glo_70pn10an01_cvpsa_001 | 68.2143 | 91.1832 | 95.2828 | 95.6363 | 92.1468 | 43.421 | 0 | 0 | 73.9994 | 100 | 99.9998 | 99.9988 | Back commissioning |  | To confirm with Shannon if sensor is decommisioned | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_server_blackrocklynxx1 | 89.6301 | 92.1961 | 95.7902 | 95.8194 | 99.0318 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx2 | 84.8832 | 90.7696 | 91.3641 | 75.7188 | 90.1715 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx3 | 89.6812 | 91.9019 | 95.4352 | 93.86 | 99.8788 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx4 | 87.2064 | 81.9924 | 56.1503 | 92.3866 | 98.7353 | 95.7356 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx5 | 81.1253 | 91.0953 | 95.5069 | 95.8194 | 94.0642 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | ASA |  | 0%
asa_asa_0112_lynxx_001 | 72.4187 | 0 | 0 | 0 | 96.5777 | 0 | 0 | 0 | 100 | 0 | 0 | 0 |  | MS-10248 | Issue escalated to IT and VOX | 1 | med | FALSE | FALSE | OK | OK | Sunlight in the evening | OK | 5
asa_asa_server_lynxxserver | 72.1885 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [5 empty] | FALSE | FALSE | N/A | N/A | N/A | N/A
GGL | [12 empty] | GGL | 0 Sensors | #DIV/0!
exx_ggl_1000_lynxx_002 | 59.4229 | 0 | 0 | 0 | 1.204 | 0 | 0 | 0 | 99.9904 | 0 | 0 | 0 |  |  | SLA Ceased | 0 | high | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_1000_lynxx_001 | 59.4061 | 0 | 0 | 0 | 59.4906 | 0 | 0 | 0 | 99.9742 | 0 | 0 | 0 |  |  |  | 0 | high | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_1000_cvpsa_001 | 55.2276 | 0 | 0 | 0 | 53.4846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_pr01_cvpsa_001 | 48.9963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98.2366 | 0 | 0 | 0 |  |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_pr02_cvpsa_001 | 52.7016 | 0 | 0 | 0 | 67.7183 | 0 | 0 | 0 | 99.3161 | 0 | 0 | 0 |  |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_server_ggpaapv13 | 59.444 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
exx_ggl_server_system_health | 55.2504 | 0 | 0 | 0 | 85.1094 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | BLF |  | 100%
exx_belf_lynxx_001 | 83.0572 | 89.7352 | 93.0036 | 94.7906 | 98.3238 | 100 | 99.9998 | 99.9988 | 99.8167 | 99.9974 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE
exx_belf_server_system_health | 83.0478 | 89.7135 | 92.8854 | 94.7674 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
[13 empty] | KAO | 9 Sensors | 88.89%
smd_kao_cv001_lynxx_001 | 95.545 | 94.7758 | 96.4235 | 96.2442 | 99.2418 | 98.8948 | 97.0741 | 93.4307 | 99.9997 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | FALSE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv002_lynxx_001 | 95.5345 | 94.7276 | 96.322 | 96.2411 | 99.416 | 99.9918 | 99.9998 | 99.9988 | 99.9991 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv005_lynxx_001 | 95.5463 | 94.745 | 96.3456 | 96.2497 | 99.8113 | 99.7264 | 99.3904 | 99.7093 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv010_lynxx_001 | 95.5584 | 94.7689 | 96.3641 | 96.2453 | 99.3728 | 99.89 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv015_lynxx_001 | 95.563 | 94.7789 | 96.4239 | 96.2487 | 99.5237 | 99.9986 | 99.9998 | 99.9988 | 99.9983 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv023_lynxx_001 | 95.5611 | 94.7934 | 96.426 | 96.2488 | 99.9435 | 99.9127 | 99.7984 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv504_lynxx_001 | 95.5585 | 94.7446 | 96.4246 | 96.2479 | 96.1159 | 99.9759 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv026_lynxx_001 | 95.5067 | 94.7492 | 96.3834 | 96.244 | 99.688 | 99.8615 | 99.6157 | 99.6714 | 99.9998 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv504_lynxx_002 | 94.9165 | 94.7475 | 96.3668 | 96.2463 | 99.1348 | 99.9951 | 99.9806 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_server_lynxxserver | 95.0575 | 94.3255 | 96.1275 | 96.2361 | 98.1916 | 94.7998 | 95.3544 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | VED | 8 Sensors | 75%
ved_gam_cv1_cvpsa_001 | 93.0343 | 93.3496 | 96.1176 | 95.8168 | 89.7693 | 100 | 99.9998 | 99.9988 | 86.6014 | 96.2485 | 99.9998 | 99.9988 |  |  | awaiting for shut on 6th to 10th March | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_001 | 91.9604 | 92.5705 | 95.6301 | 95.8861 | 56.1118 | 0 | 0 | 0 | 89.4781 | 96.2446 | 99.9998 | 99.9988 | faulty laser | MS-9719 | awaiting site site to check | 0 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_002 | 92.9472 | 93.3972 | 96.1712 | 95.8305 | 88.0714 | 98.1726 | 99.7682 | 98.3773 | 85.8036 | 96.2522 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_003 | 93.0273 | 93.3705 | 96.1227 | 96.1742 | 96.6746 | 100 | 99.9998 | 99.9988 | 86.8287 | 96.239 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_004 | 93.0557 | 88.0947 | 84.5866 | 96.5276 | 96.6324 | 99.9472 | 99.9853 | 99.9988 | 85.8 | 81.2758 | 91.6226 | 78.2657 |  |  |  | 1 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_005 | 93.0285 | 88.0185 | 84.2918 | 96.5071 | 94.4189 | 99.491 | 99.025 | 99.4119 | 83.1642 | 50.4875 | 91.6226 | 78.2657 |  |  |  | 1 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_001 | 93.0003 | 95.1631 | 94.9829 | 95.8259 | 73.79 | 99.9112 | 99.9824 | 99.9988 | 83.4516 | 96.7667 | 99.5747 | 99.8901 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_002 | 92.9938 | 95.0906 | 95.0313 | 95.824 | 93.9352 | 99.9781 | 99.9998 | 99.9988 | 79.811 | 95.1912 | 98.2434 | 97.6876 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_003 | 92.9914 | 95.1024 | 94.8836 | 95.8219 | 80.0298 | 94.8431 | 92.341 | 98.753 | 87.6354 | 96.8315 | 99.5421 | 99.7099 |  |  |  | 1 | med | TRUE | FALSE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_004 | 92.9921 | 95.1852 | 95.0292 | 95.8231 | 73.8158 | 0.017529 | 0.020762 | 0.03627 | 82.3811 | 97.5496 | 99.9998 | 99.9988 | camera faulty | MS_9718 | awaiting for Crane | 0 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_truckvolume_stats_001 | 93.2889 | 94.2272 | 93.7773 | 91.1045 | 34.1434 | 0.086864 | 0.064373 | 0.11452 | 87.3762 | 82.7494 | 98.5293 | 94.4341 | Laser issue | MS-8604 | Still waiting for repairs to be concluded | 0 | med | FALSE | FALSE
ved_gam_truckvolume_stats_002 | 93.354 | 94.1875 | 93.7153 | 91.055 | 83.5555 | 0.061813 | 0.040787 | 0.050915 | 87.4604 | 82.7485 | 98.5269 | 94.434 | Laser issue |  |  | 0 | med | FALSE | FALSE
ved_gam_server_system_health | 92.4449 | 87.3142 | 83.5432 | 95.6713 | 99.9903 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | Royal Bafokeng |  | #DIV/0!
rbp_mas_millfeed_cvpsa_001 | 46.623 | 27.5941 | 0 | 0 | 100 | 99.9999 | 0 | 0 | 9.7163 | 0 | 0 | 0 | Replication issues /Maseve network down | MS-10242 | S3a server installation in progress/waiting on client for firewall rules | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
rbp_mas_millfeed_server_system_health | 40.1772 | 20.6622 | 0 | 0 | 95.7433 | 99.9999 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | GoldFields |  | #DIV/0!
gol_cca_pulp_001 | 34.4572 | 19.2771 | 79.8622 | 95.8134 | 99.9737 | 99.9998 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 | vpn issue | MS-10156 | resolved | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
gol_cca_pulp_002 | 35.5195 | 19.2703 | 79.8339 | 95.8158 | 100 | 99.9998 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
gol_cca_pulp_003 | 36.5624 | 19.2764 | 79.8596 | 95.6921 | 99.999 | 99.9998 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE
gol_cca_server_system_health | 10.5162 | 19.1739 | 79.4347 | 95.3854 | 100 | 99.9998 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | SPM | 0 Sensors | #DIV/0!
spm_ppm_ft_300_02 | 79.4844 | 81.1538 | 62.0513 | 48.5655 | 88.2256 | 30.7371 | 75.5538 | 99.9988 | 0 | 0 | 0 | 0 | Camera error |  | Site outage | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_04 | 79.2774 | 80.6409 | 62.0006 | 48.5709 | 88.0188 | 31.8547 | 76.2985 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_06 | 79.5565 | 81.4826 | 63.0806 | 48.5708 | 88.0974 | 30.3717 | 71.6868 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_08 | 79.3949 | 81.3212 | 62.5166 | 48.5709 | 87.8494 | 30.6531 | 75.1821 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_10 | 79.4214 | 81.8319 | 64.5205 | 48.5825 | 87.2424 | 29.6642 | 71.1211 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_12 | 78.5731 | 80.8672 | 61.5201 | 48.5825 | 87.7066 | 31.8092 | 75.624 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_02 | 79.3334 | 81.5643 | 63.6505 | 48.5824 | 87.8719 | 29.5515 | 70.9275 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_04 | 79.4243 | 81.1212 | 61.8167 | 48.5882 | 88.0279 | 30.1403 | 73.3739 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_06 | 79.65 | 81.6976 | 64.074 | 48.5879 | 87.5587 | 29.6015 | 70.0867 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_08 | 79.3539 | 81.0925 | 61.4026 | 48.5882 | 87.8088 | 29.9208 | 72.182 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_10 | 79.363 | 81.7964 | 64.3117 | 48.5882 | 88.032 | 29.7379 | 70.9294 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_12 | 79.4655 | 81.7094 | 63.9511 | 48.5998 | 87.5502 | 29.7501 | 71.8263 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_14 | 79.3676 | 81.2966 | 63.5187 | 48.594 | 87.886 | 31.1894 | 72.6533 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_16 | 79.4315 | 81.2759 | 62.2146 | 48.6056 | 87.9321 | 30.0942 | 72.7139 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_18 | 73.277 | 57.0915 | 7.6488 | 0 | 83.5029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Old data | MS-10569 |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
[13 empty] | NMT |  | #DIV/0!
nmt_bod_cvpsa_001 | 54.6803 | 23.354 | 0 | 0 | 99.998 | 99.9999 | 0 | 0 | 66.563 | 66.8452 | 0 | 0 |  |  | Trial Ended | 0 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
nmt_bod_server_system_health | 70.8498 | 24.7808 | 0 | 0 | 99.997 | 99.9999 | 0 | 0 | N/A | N/A | N/A | N/A |  |  |  | 0 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
[13 empty] | ROS |  | #DIV/0!
ros_ara_cvpsa_crusher_psd_001 | 94.1545 | 96.1762 | 96.061 | 93.1347 | 75.5538 | 70.7811 | 69.6373 | 67.3819 | 87.1923 | 87.8144 | 88.8119 | 90.1256 | Commisioning still ongoing. |  |  | 0 | low | FALSE |  | OK | OK | N/A | OK | 5
ros_ara_truck_crusher_psd_stats_001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.6708 | 5.2654 | 15.8006 | 21.0457 | Commisioning still ongoing. |  |  | 0 | low | FALSE | FALSE
ros_ara_truck_gantry_psd_stats_001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.0172 | 84.2385 | 99.9998 | 99.9988 | Commisioning still ongoing. |  |  | 0 | low | FALSE | FALSE
[13 empty] | ANG LBR |  | 100%
FALSE
ang_lbr_ft_lt2_r1_c1 | 91.6644 | 91.6644 | 91.6644 | 91.6638 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c2 | 91.6665 | 91.6665 | 91.6665 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c3 | 91.6662 | 91.6662 | 91.6662 | 91.6662 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c4 | 91.6657 | 91.6657 | 91.6657 | 91.6662 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c5 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c6 | 91.6658 | 91.6658 | 91.6658 | 91.6664 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c7 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c8 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c1 | 91.6664 | 91.6664 | 91.6664 | 91.6661 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c2 | 91.6658 | 91.6658 | 91.6658 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c3 | 91.6666 | 91.6666 | 91.6666 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c4 | 91.6664 | 91.6664 | 91.6664 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c5 | 91.6659 | 91.6659 | 91.6659 | 91.6665 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c6 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c7 | 91.666 | 91.666 | 91.666 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c8 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c1 | 91.6665 | 91.6665 | 91.6665 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c2 | 91.6664 | 91.6664 | 91.6664 | 91.6661 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c3 | 91.6664 | 91.6664 | 91.6664 | 91.6665 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c4 | 91.6665 | 91.6665 | 91.6665 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c5 | 91.6657 | 91.6657 | 91.6657 | 91.6664 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c6 | 91.6659 | 91.6659 | 91.6659 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c7 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c8 | 91.6658 | 91.6658 | 91.6658 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c1 | 91.6651 | 91.6651 | 91.6651 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c2 | 91.666 | 91.666 | 91.666 | 91.6665 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c3 | 91.666 | 91.666 | 91.666 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c4 | 91.6651 | 91.6651 | 91.6651 | 91.6639 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c5 | 91.6662 | 91.6662 | 91.6662 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c6 | 91.6662 | 91.6662 | 91.6662 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c7 | 91.6659 | 91.6659 | 91.6659 | 91.6662 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c8 | 91.6665 | 91.6665 | 91.6665 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
[13 empty] | BCS EFM |  | 0%
bcs_efm_ft_001 | 74.431 | 96.7531 | 96.8284 | 96.7226 | 98.4372 | 99.9873 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 |  |  | No Access | 1 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
bcs_efm_pulp_001 | 22.3843 | 0 | 0 | 0 | 99.962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pulp removed |  |  | 0 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
[13 empty] | DEB NUJ |  | 100%
deb_nuj_ppsc01_cvpsa_001 | 74.7532 | 92.3505 | 96.0282 | 95.9721 | 98.82 | 100 | 99.9998 | 99.9988 | 92.5458 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | N/A | OK | 5
deb_nuj_server_system_health | 81.6164 | 91.9128 | 95.2814 | 95.6331 | 88.7811 | 89.0814 | 78.0349 | 99.9988 | N/A | N/A | N/A | N/A | [5 empty] | TRUE
[13 empty] | DEB VEN v2 |  | 100%
deb_ven_cvpsa_rno_cnv001_001 | 78.8314 | 89.1796 | 93.1934 | 93.6186 | 96.255 | 99.2506 | 99.9998 | 99.9988 | 95.4054 | 99.0191 | 97.0104 | 99.8901 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | N/A | OK | 5
deb_ven_ft_df2scn002_002 | 92.1216 | 92.4706 | 96.0511 | 95.9721 | 99.7008 | 99.159 | 99.9491 | 99.9988 | 39.0273 | 30.9869 | 99.9997 | 99.9988 |  |  |  | 0 | low | TRUE | FALSE | OK | OK | N/A | OK | 5
[13 empty] | APS |  | #DIV/0!
aps_ukn_440_ft_001 | 69.7819 | 7.9202 | 0.10112 | 0 | 99.9526 | 99.775 | 99.9997 | 0 | 80.066 | 99.1972 | 98.9061 | 0 | Network issues on site |  |  | 0 | low | FALSE | 0 | OK | OK | N/A | OK | 5
[13 empty] | DEB VEN v3 |  | #DIV/0!
deb_nuj_ppsc01_cvpsa_001 | 74.7532 | 92.3505 | 96.0282 | 95.9721 | 98.82 | 100 | 99.9998 | 99.9988 | 92.5458 | 100 | 99.9998 | 99.9988 | Still in comissioning |  |  | 0 | low | TRUE | TRUE | OK | OK | N/A | OK | 5
deb_nuj_server_system_health | 81.6164 | 91.9128 | 95.2814 | 95.6331 | 88.7811 | 89.0814 | 78.0349 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 0 | low | TRUE | FALSE | OK | OK | N/A | OK | 5
[15 empty] | Total Sensors | 248
[15 empty] | Sensors currently counted | 182 | 73.39%
[15 empty] | Monthly Sensor Status KPI | 67.03%