## Result
Sensor State as on | [12 empty] | Weekly Sensor Status KPI | 85.96% |  | 85 | 95 | 95 |  |  | 42766.457 |  |  | 1 | 2 | 3 | 4 | 5
|  |  | Monitoring |  |  |  | Up Time |  |  |  | OPC Data |  |  |  |  | Sensor weekly state
Sensor | Y | M | W | D | Y | M | W | D | Y | M | W | D | Reason | Ticket No | Corrective Action | On? | Impact? | Weekly OK? | Monthly OK? | Focus and Zoom | Dirty Lens | Sunlight | Run_Signals | Customer_View |  |  |  |  | Integrity Check date | APC Control | Comment | Minutes | PFD | Bi-weekly | Mini TVA | Dashboard | Reference status | Established client contact | Additional Actions | Date | S3MS Team member | Prority
[13 empty] | ABU |  | 0% | [17 empty] | ABU
ang_abmr_feed1_lynxx_001 | 51.5253 | 94.6009 | 95.3559 | 95.555 | 89.5731 | 92.7203 | 95.8249 | 92.9667 | 62.0911 | 99.9924 | 99.9998 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 4 |  |  |  |  | 07/08/2019 | Y | Turn into a reference story | [5 empty] | Prioritized |  | Educate site with HQ support |  | Robbie
ang_abmr_server_aisabmrlynx01 | 68.5758 | 92.2546 | 93.4659 | 93.7755 | 99.0908 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | ACP |  | 100% | [17 empty] | ACP
ang_wacp_feed1_fcd_001 | 90.0297 | 94.7471 | 95.7141 | 95.6942 | 99.7091 | 99.996 | 99.9998 | 99.9988 | 96.9709 | 99.9924 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | N/A | 4 | [9 empty] | 42795 |  |  |  | Adele |  |  | Carl
ang_wacp_server_aiswacplynx01 | 90.3438 | 92.1135 | 93.4436 | 94.6725 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
[13 empty] | KHU | 6 Sensors | 83.33% | [17 empty] | KHU
asm_khu_jb41_lynxx_an61 | 86.5252 | 92.2287 | 95.8203 | 95.8225 | 99.4753 | 100 | 99.9998 | 99.9988 | 98.8036 | 99.2902 | 98.727 | 97.7511 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | Bad | 5 |  |  |  |  | 07/08/2019 |  |  |  | x | 0 | 0 | 0 | Approved | 0 | 0 | 0 | 0 | 0
asm_khu_jb45_lynxx_an40 | 86.4934 | 92.285 | 95.785 | 95.9641 | 97.8086 | 95.0387 | 89.2496 | 86.9463 | 98.7935 | 99.4604 | 99.0073 | 98.476 |  |  |  | 1 | low | FALSE | TRUE | OK | OK | OK | Bad | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an27 | 86.0089 | 92.2493 | 95.8013 | 95.9705 | 99.4302 | 99.9614 | 99.8456 | 99.9988 | 98.8197 | 99.7412 | 99.4209 | 99.2015 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an38 | 86.537 | 92.3328 | 96.0242 | 95.9715 | 99.4617 | 100 | 99.9998 | 99.9988 | 98.644 | 99.1706 | 98.5943 | 97.4646 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an47 | 86.5172 | 92.2753 | 95.7854 | 95.8218 | 78.7797 | 100 | 99.9998 | 99.9988 | 98.9695 | 99.6688 | 99.4817 | 99.0564 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_jc90_lynxx_an57 | 85.9995 | 92.3542 | 95.8238 | 95.8226 | 89.7917 | 87.7932 | 99.9998 | 99.9988 | 98.65 | 99.1888 | 98.4967 | 97.1706 |  | MS-10664 |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5 |  |  |  |  | 07/08/2019
asm_khu_pp10_lynxx_an080 | 82.7649 | 91.5099 | 95.257 | 94.9876 | 27.833 | 79.8553 | 85.0402 | 86.2683 | 97.5223 | 97.8606 | 97.7614 | 95.4274 |  |  | Sensor installed ,Rocky to do adjustments | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 3 |  |  |  |  | 07/08/2019
asm_khu_pp20_lynxx_an295 | 82.8859 | 92.433 | 96.0683 | 95.8331 | 11.1385 | 14.2419 | 15.88 | 2.2463 | 97.7684 | 99.9405 | 99.9069 | 99.9263 |  |  | Sensor installed ,Rocky to do adjustments | 0 | low | FALSE | FALSE | OK | OK | Sunlight | OK | 3 |  |  |  |  | 07/08/2019
asm_khu_server_ikhppsd1 | 84.1053 | 92.042 | 95.5886 | 95.5347 | 93.1844 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
asm_khu_server_ikhppsd2 | 86.1377 | 92.0027 | 95.4314 | 95.5995 | 99.594 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
FQM | [12 empty] | FQM | 37 Sensors | 97.3% | [19 empty] | FQM
fqm_kan_1004_cvpsa_001 | 90.3472 | 92.4086 | 96.1158 | 96.1027 | 97.7327 | 100 | 99.9998 | 99.9988 | 90.753 | 98.8987 | 99.1222 | 99.6374 |  |  |  | 1 | low | TRUE | TRUE | N/A | N/A | N/A | OK | 5 | [8 empty] | x | 42767 |  |  | Approved
fqm_kan_1007_cvpsa_001 | 90.3365 | 92.4591 | 96.0858 | 96.1107 | 93.1199 | 98.7856 | 99.7679 | 99.9988 | 94.3597 | 99.6623 | 99.8296 | 99.9627 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1007_cvpsa_002 | 90.0611 | 92.3615 | 96.056 | 95.9463 | 94.3207 | 98.1391 | 98.3044 | 99.8176 | 65.3746 | 99.8626 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1010_cvpsa_001 | 90.0238 | 92.4183 | 96.1225 | 96.1079 | 91.5785 | 98.5328 | 98.0613 | 99.9988 | 89.943 | 99.7104 | 99.8605 | 99.8906 |  |  |  | 1 | low | TRUE | TRUE | Bad | OK | OK | OK | 5
fqm_kan_2303_cvpsa_001 | 89.912 | 92.5005 | 96.1147 | 96.2319 | 50.805 | 77.9062 | 95.9162 | 95.773 | 72.8427 | 100 | 99.9998 | 99.9988 | Noisy Image | MS-10584 |  | 1 | high | TRUE | FALSE | OK | Dirty Lens | OK | OK | 5
fqm_kan_1012_cvpsa_001 | 90.1238 | 92.4141 | 96.1632 | 96.2395 | 96.2908 | 99.5076 | 99.9998 | 99.9988 | 61.1062 | 0 | 0 | 0 | Verifcation tag not updating |  | Cron to fix the verifcation tag | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
fqm_kan_1201_cvpsa_001 | 90.241 | 92.5328 | 96.1089 | 96.2324 | 90.9188 | 94.2459 | 95.5283 | 93.4922 | 91.9779 | 99.6185 | 99.6953 | 99.9628 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
fqm_kan_1202_cvpsa_001 | 84.6389 | 91.6121 | 96.0747 | 96.3734 | 97.5962 | 95.701 | 95.56 | 93.4112 | 94.9413 | 97.7458 | 99.582 | 99.8906 |  |  |  | 1 | low | FALSE | TRUE | OK | OK | OK | OK | 5
fqm_kan_2302_cvpsa_001 | 89.5934 | 92.4873 | 96.1395 | 96.0937 | 93.8359 | 96.3125 | 99.9998 | 99.9988 | 92.6973 | 99.73 | 99.8553 | 99.9627 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_2306_cvpsa_001 | 90.0923 | 92.5305 | 96.2015 | 96.3838 | 96.6426 | 96.0623 | 99.9998 | 99.9988 | 94.8527 | 99.7324 | 99.8501 | 99.9628 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1101_truck_stats_001 | 89.3454 | 92.4399 | 96.1456 | 96.2445 | 97.8954 | 99.9837 | 99.9346 | 99.9988 | 79.7017 | 97.9097 | 97.9234 | 96.6005 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_1101_truck_stats_002 | 90.3734 | 92.4681 | 96.1247 | 96.2414 | 97.9208 | 99.9784 | 99.9335 | 99.9988 | 90.4296 | 97.6979 | 99.0191 | 99.4212 |  |  |  | 1 | high | TRUE | TRUE | N/A | N/A | N/A | OK | 5
fqm_kan_1101_cvpsa_001 | 90.3451 | 92.49 | 96.1039 | 96.1094 | 98.3663 | 99.94 | 99.9792 | 99.9446 | 78.9456 | 99.1106 | 99.8401 | 99.9988 | OPC data errors/ maintance | MS-10296 |  | 1 | high | TRUE | TRUE | 0 | 0 | 0 | 0
fqm_kan_3700_ft_001 | 89.0254 | 92.6316 | 96.3267 | 96.386 | 98.2981 | 99.9993 | 99.9998 | 99.9988 | 98.1446 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_002 | 89.6283 | 92.6305 | 96.2675 | 96.2479 | 97.8076 | 99.999 | 99.9998 | 99.9988 | 99.0139 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_003 | 88.9806 | 92.6783 | 96.3049 | 96.3851 | 98.471 | 99.9939 | 99.9759 | 99.9988 | 98.9626 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_004 | 89.0637 | 92.6929 | 96.3455 | 96.5249 | 99.1847 | 99.9993 | 99.9998 | 99.9988 | 98.5005 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_005 | 89.5713 | 92.6886 | 96.3459 | 96.5268 | 98.1559 | 99.9977 | 99.9998 | 99.9988 | 98.8747 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_3700_ft_006 | 89.6697 | 92.6549 | 96.3468 | 96.3887 | 99.482 | 99.9993 | 99.9998 | 99.9988 | 98.9881 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [5 empty] | Y
fqm_kan_30_ft_3001 | 89.5925 | 92.4681 | 96.1881 | 96.2479 | 97.9356 | 99.937 | 99.9333 | 99.9764 | 99.9985 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3002 | 89.5916 | 92.4873 | 96.188 | 96.25 | 98.014 | 99.956 | 99.9314 | 99.9875 | 99.9927 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3003 | 89.615 | 92.4826 | 96.2083 | 96.2484 | 97.9732 | 99.9377 | 99.9281 | 99.9759 | 99.9928 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3004 | 89.573 | 92.5306 | 96.2281 | 96.2484 | 97.9262 | 99.9515 | 99.937 | 99.9631 | 99.9927 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_30_ft_3005 | 89.4812 | 92.4926 | 96.2282 | 96.3865 | 97.4139 | 99.9414 | 99.9361 | 99.9988 | 99.9927 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | N/A | OK | OK | OK | 5
fqm_kan_30_ft_3006 | 89.457 | 92.5502 | 96.2681 | 96.3872 | 97.7705 | 99.9349 | 99.9474 | 99.9642 | 99.9928 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_35_ft_3541 | 81.6193 | 88.2809 | 96.2865 | 96.3839 | 99.3829 | 99.9977 | 99.9986 | 99.9988 | 90.348 | 94.9922 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | Dirty Lens | OK | OK | 5
fqm_kan_35_ft_3542 | 89.6825 | 92.5897 | 96.3084 | 96.3875 | 96.9496 | 99.9882 | 99.9955 | 99.9988 | 99.9985 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_35_ft_3545 | 89.6414 | 92.6217 | 96.3068 | 96.3851 | 99.412 | 99.9975 | 99.9998 | 99.9988 | 99.992 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | Dirty Lens | OK | OK | 5
fqm_kan_35_ft_3546 | 89.4909 | 92.6379 | 96.2888 | 96.527 | 99.4128 | 99.9778 | 99.9696 | 99.975 | 99.9918 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
fqm_kan_333_ft_21 | 91.2112 | 92.4825 | 96.2077 | 96.3845 | 99.6542 | 99.9876 | 99.9749 | 99.9926 | 99.7859 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_22 | 91.2594 | 92.4824 | 96.2072 | 96.247 | 99.6539 | 99.9949 | 99.9943 | 99.9988 | 99.7859 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_23 | 91.2797 | 92.511 | 96.2273 | 96.3862 | 99.6524 | 99.9928 | 99.9928 | 99.9988 | 99.7859 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_24 | 91.2987 | 92.5398 | 96.2473 | 96.3844 | 99.6555 | 99.988 | 99.9715 | 99.9988 | 99.7858 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_25 | 91.3497 | 92.5205 | 96.2078 | 96.3868 | 99.6519 | 99.9901 | 99.9931 | 99.9988 | 99.7858 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_333_ft_26 | 91.41 | 92.5127 | 96.2487 | 96.3875 | 99.7079 | 99.9908 | 99.9762 | 99.9988 | 99.7858 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_cc01 | 91.3817 | 92.4989 | 96.2687 | 96.3877 | 99.7095 | 99.9939 | 99.9766 | 99.9988 | 99.7856 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_cc02 | 91.4005 | 92.5174 | 96.2489 | 96.3873 | 98.3666 | 99.95 | 99.9239 | 99.9988 | 99.7856 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_jc01 | 91.4726 | 92.5649 | 96.2683 | 96.3883 | 98.8195 | 99.9968 | 99.9962 | 99.996 | 99.7856 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_337_ft_jc02 | 91.4948 | 92.5365 | 96.2887 | 96.3889 | 99.6612 | 99.9977 | 99.9998 | 99.9988 | 99.7855 | 100 | 99.9998 | 99.9988 |  |  |  | 1 |  | TRUE | TRUE
fqm_kan_server_frothsensor | 88.8023 | 92.1823 | 95.4721 | 96.2072 | 99.3447 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
fqm_kan_server_ml | 89.4227 | 92.2648 | 96.0051 | 96.3773 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
fqm_kan_server_vm_system_health | 89.625 | 92.106 | 95.6901 | 96.2025 | 98.206 | 99.9345 | 99.7381 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | GRS | 15 Sensors | 93.33% | [17 empty] | SIS
aco_grs_primary_ft_001_inner | 90.6633 | 94.6705 | 95.1945 | 95.5508 | 94.3344 | 99.1739 | 99.9998 | 99.9988 | 98.7442 | 95.0982 | 99.9998 | 99.9988 |  |  | Henko to feed back | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y | [6 empty] | Done |  | Robbie to introduce us to the correct people for a Bi-weekly | 42767 | Robbie
aco_grs_primary_ft_001_outer | 90.3071 | 94.5504 | 95.195 | 95.2736 | 84.8426 | 99.1751 | 99.9998 | 99.9988 | 97.7392 | 91.3753 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_002_inner | 91.3444 | 94.7326 | 95.215 | 95.2738 | 95.9277 | 99.1783 | 99.9998 | 99.9988 | 98.5136 | 91.3652 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_002_outer | 91.4752 | 94.6902 | 95.2353 | 95.5518 | 95.5223 | 99.1773 | 99.9998 | 99.9988 | 98.4705 | 91.2292 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | Laser out of ROI | OK | OK | APET's Method | 3 | [5 empty] | Y
aco_grs_primary_ft_003_inner | 91.4329 | 94.4068 | 95.2558 | 95.2749 | 99.8886 | 99.1801 | 99.9998 | 99.9988 | 98.9753 | 91.7212 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_003_outer | 91.4511 | 94.6946 | 95.2546 | 95.5518 | 99.8841 | 99.1773 | 99.9998 | 99.9988 | 99.1777 | 92.566 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 3 | [5 empty] | Y
aco_grs_primary_ft_004_inner | 91.4547 | 94.107 | 95.2361 | 95.2745 | 95.8598 | 99.1796 | 99.9998 | 99.9988 | 99.3617 | 99.9497 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_primary_ft_004_outer | 86.4539 | 94.5601 | 95.156 | 95.2771 | 63.872 | 99.1787 | 99.9998 | 99.9988 | 99.9515 | 99.7915 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_001_inner | 91.5235 | 94.6327 | 95.1968 | 95.1371 | 95.8904 | 99.1774 | 99.9998 | 99.9988 | 98.4115 | 91.2499 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_001_outer | 91.5122 | 94.7084 | 95.2135 | 95.273 | 96.7615 | 99.1766 | 99.9998 | 99.9988 | 98.4466 | 91.3892 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_002_inner | 91.534 | 94.637 | 95.0554 | 95.135 | 96.7381 | 99.1788 | 99.9998 | 99.9988 | 98.4744 | 91.3904 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_002_outer | 91.468 | 94.4021 | 95.134 | 95.2703 | 95.5554 | 88.2695 | 54.8175 | 0 | 98.8631 | 95.4486 | 99.9998 | 99.9988 |  |  |  | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_003_inner | 91.4315 | 94.4756 | 95.1902 | 95.2649 | 70.4597 | 0 | 0 | 0 | 99.893 | 100 | 99.9998 | 99.9988 | Camera offline | MS-10277 | Joseph awaiting for site trip | 0 | high | FALSE | FALSE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_003_outer | 91.5336 | 94.6694 | 95.1349 | 95.2731 | 97.4823 | 99.1755 | 99.9998 | 99.9988 | 99.355 | 92.5152 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_004_inner | 91.5429 | 94.7127 | 95.1553 | 95.2737 | 96.7351 | 99.1762 | 99.9998 | 99.9988 | 98.7141 | 91.4082 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | Ok | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_secondary_ft_004_outer | 91.5869 | 94.7569 | 95.2158 | 95.2725 | 93.4732 | 99.1748 | 99.9998 | 99.9988 | 99.3918 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_grs_server_froth | 88.2674 | 92.1034 | 93.7938 | 94.8414 | 99.9947 | 99.9347 | 99.9998 | 99.9988 | N/A | N/A | N/A | [8 empty] | N/A | N/A | N/A | N/A
[13 empty] | DSN |  | 92.86%
aco_dsn_ft_601_inner | 90.9447 | 90.9045 | 90.8527 | 90.8323 | 98.325 | 99.7579 | 99.6708 | 99.9686 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_601_outer | 91.9453 | 91.0242 | 91.031 | 91.11 | 95.3603 | 99.7575 | 99.678 | 99.9983 | 99.3969 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_602_inner | 91.9636 | 91.0145 | 90.9516 | 91.1111 | 95.3578 | 99.7558 | 99.6667 | 99.9649 | 99.3967 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_602_outer | 91.986 | 91.0482 | 90.9915 | 91.2498 | 95.3609 | 99.7572 | 99.6749 | 99.9988 | 99.3967 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_621_inner | 91.9987 | 91.0816 | 91.011 | 91.2486 | 95.3619 | 99.7582 | 99.675 | 99.9987 | 99.3969 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_621_outer | 92.0082 | 91.0816 | 91.0704 | 91.2487 | 93.2183 | 99.7579 | 99.6752 | 99.9978 | 99.397 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | Ok | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_622_inner | 91.9928 | 91.096 | 91.0704 | 91.25 | 95.3616 | 99.7587 | 99.6787 | 99.9983 | 99.3973 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_622_outer | 92.0009 | 91.1199 | 91.0906 | 91.2488 | 95.3604 | 99.7585 | 99.6779 | 99.9974 | 99.3969 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_ft_641_inner | 92.002 | 91.1104 | 91.0904 | 91.3877 | 95.3612 | 99.7576 | 99.6752 | 99.9981 | 99.3973 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
aco_dsn_ft_641_outer | 91.1865 | 91.1151 | 91.0706 | 91.25 | 95.3373 | 99.7577 | 99.6779 | 99.9976 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_ft_642_inner | 92.0276 | 91.1152 | 91.0708 | 91.2491 | 95.3621 | 99.757 | 99.6757 | 99.9979 | 99.397 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_ft_642_outer | 92.0307 | 91.1199 | 91.0706 | 91.2488 | 95.3596 | 99.7579 | 99.6759 | 99.9984 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_308_cvpsa_001 | 85.2594 | 90.6685 | 90.5673 | 90.8264 | 99.9931 | 99.9979 | 99.9998 | 99.9988 | 98.5889 | 99.996 | 99.9889 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
aco_dsn_309_cvpsa_001 | 86.8078 | 76.1124 | 69.5341 | 72.2381 | 99.9929 | 99.9981 | 99.9998 | 99.9988 | 98.5894 | 99.9973 | 99.9998 | 99.9988 |  |  |  | 1 | med | FALSE | FALSE
aco_dsn_server_frothsensor | 91.3669 | 90.7226 | 90.8097 | 91.1898 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | Capcoal | 9 Sensors | 100% | [17 empty] | Capcoal
aco_ccl_ft_fb001 | 91.9943 | 94.7231 | 94.9993 | 94.9993 | 99.2595 | 99.9363 | 99.9998 | 99.9988 | 99.9947 | 99.9346 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb002 | 93.2949 | 94.8183 | 95.059 | 95.1388 | 99.2642 | 99.9329 | 99.9939 | 99.9988 | 99.9947 | 99.9346 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb003 | 93.3462 | 94.8469 | 95.0193 | 94.9996 | 99.2652 | 99.9355 | 99.9998 | 99.9988 | 99.9746 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb004 | 93.4441 | 94.8425 | 95.0788 | 95.1386 | 99.2663 | 99.9347 | 99.9998 | 99.9988 | 99.9746 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb005 | 93.3847 | 94.8958 | 95.0986 | 95.1381 | 98.3518 | 99.93 | 99.9941 | 99.9988 | 99.9746 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fb006 | 93.5963 | 94.8949 | 95.1383 | 95.1389 | 98.3598 | 99.9316 | 99.9939 | 99.9988 | 99.9746 | 99.6952 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK
aco_ccl_ft_fc601 | 93.1687 | 94.9267 | 95.1384 | 95.1378 | 94.3409 | 69.1645 | 99.9998 | 99.9988 | 99.1463 | 99.6956 | 99.9998 | 99.9988 |  | MS-10771 | awaiting on site | 1 | med | TRUE | FALSE | OK | OK | OK
aco_ccl_ft_fc602 | 92.7606 | 94.9175 | 95.1384 | 95.1383 | 94.3409 | 69.1635 | 99.9942 | 99.9988 | 98.8345 | 99.6952 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | FALSE | OK | OK | OK
aco_ccl_ft_fc621 | 93.0921 | 94.9167 | 95.1384 | 95.1387 | 96.4962 | 69.1622 | 99.9998 | 99.9988 | 99.6609 | 99.6956 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | FALSE | OK | OK | OK
aco_ccl_server_frothsensor | 92.7212 | 94.5715 | 94.7523 | 94.4653 | 95.2837 | 89.6551 | 99.9998 | 99.9988 | [11 empty] | OK | OK | OK
[13 empty] | SIS | 8 Sensors | 87.5% | [17 empty] | SIS
kio_sis_j141_lynxx_001 | 92.2167 | 95.4906 | 96.2473 | 96.1071 | 96.1828 | 99.6228 | 99.9985 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | Dust | OK | OK | 5 | [5 empty] | Y | Louis to engage with Mpumi on a reference story |  |  | 42736 |  |  | Waiting approval
kio_sis_j142_lynxx_001 | 92.2464 | 95.5097 | 96.3068 | 96.246 | 88.0807 | 99.4226 | 99.6687 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | Sunlight | OK | 5 | [5 empty] | Y
kio_sis_j143_lynxx_001 | 92.2476 | 95.548 | 96.2672 | 96.1071 | 99.8547 | 99.913 | 99.9998 | 99.9988 | 99.4179 | 99.1497 | 96.529 | 81.6331 |  |  |  | 1 | med | FALSE | TRUE | 0 | Dust | OK | OK | 5 | [5 empty] | Y
kio_sis_j144_lynxx_001 | 92.2494 | 95.5336 | 96.3267 | 96.2461 | 98.9243 | 99.9163 | 99.9978 | 99.9988 | 99.6209 | 99.473 | 97.909 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | OK | OK | 5 | [5 empty] | Y
kio_sis_j153_lynxx_001 | 92.2782 | 95.505 | 96.3068 | 96.1071 | 98.5855 | 99.7945 | 99.9964 | 99.9988 | 99.8909 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | OK | OK | 4 | [5 empty] | Y |  |  |  | 42736
kio_sis_j251_lynxx_001 | 91.4921 | 95.5097 | 96.2838 | 96.1106 | 95.4337 | 99.8555 | 99.9734 | 99.9024 | 98.0481 | 99.9175 | 99.8763 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | 0 | OK | Sunlight | OK | 4 | [5 empty] | Y
kio_sis_jigeast_truckpsa_stats_001 | 82.7413 | 88.6433 | 96.3239 | 96.1092 | 96.9987 | 99.678 | 99.3032 | 99.4556 | 91.7415 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
kio_sis_jigpocket_cvpsa_001 | 81.6141 | 88.6488 | 96.279 | 96.1603 | 62.0093 | 20.2702 | 16.8791 | 25.4234 | 67.1672 | 94.4215 | 99.9895 | 99.9988 | Commisioning still ongoing. | MS-9535 | Handover to support in progress | 0 | med | FALSE | FALSE
kio_sis_jigwest_truckpsa_stats_001 | 82.3907 | 88.997 | 96.3233 | 96.2385 | 96.861 | 99.2703 | 99.1726 | 99.7434 | 91.6888 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
kio_sis_jig_server_health_truck_system_health | 80.8405 | 87.4572 | 95.588 | 96.0336 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
kio_sis_server_sisstone3 | 89.8103 | 92.9763 | 94.81 | 95.9861 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [8 empty] | N/A | N/A | N/A
[13 empty] | KOL |  | 0% | [17 empty] | SIS
ang_kol_truck_stats_001 | 82.5104 | 94.2347 | 91.3734 | 95.41 | 66.1044 | 67.3483 | 0.49055 | 0 | 99.1701 | 100 | 99.9998 | 99.9988 | camera timeout |  |  | 1 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5 | [5 empty] | Y
ang_kol_truck_stats_002 | 84.5761 | 94.1423 | 91.0721 | 95.4064 | 87.0528 | 66.6189 | 0.058336 | 0 | 90.0187 | 87.8529 | 99.9998 | 99.9988 | camera timeout |  |  | 1 | med | FALSE | FALSE | OK | Dust | OK | OK | 5 | [5 empty] | Y
ang_kol_pocket_cvpsa_001 | 80.7902 | 95.2011 | 95.3995 | 95.5506 | 57.3592 | 57.9853 | 35.6552 | 0 | 49.1251 | 86.7232 | 99.979 | 99.9988 | always dirty |  |  | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5 | [5 empty] | Y
ang_kol_server_truck | 82.3722 | 94.8588 | 94.9673 | 95.1944 | 98.3514 | 100 | 99.9998 | 99.9988 | [11 empty] | OK | Dust | OK | OK | 5 | [5 empty] | Y | Louis to engage with Mpumi on a reference story |  |  | 42736 |  |  | Waiting approval
[13 empty] | MGN | 47 Sensors | 72.34% | [17 empty] | MGN
ang_mgn_440_ft_001 | 90.6785 | 94.4529 | 95.2536 | 95.2721 | 96.9882 | 99.9784 | 99.9983 | 99.9988 | 92.762 | 99.1035 | 99.5191 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y | [6 empty] | Done |  | Robbie to introduce us to the correct people for a Bi-weekly | 42767 | Robbie
ang_mgn_440_ft_001_inner | 90.8223 | 94.5415 | 95.2353 | 95.2741 | 92.895 | 99.9878 | 99.9964 | 99.9988 | 95.0195 | 78.4283 | 64.1866 | 99.9988 | OPC Dta error |  |  | 1 | low | TRUE | FALSE
ang_mgn_440_ft_002 | 90.9158 | 94.4402 | 95.2748 | 95.2743 | 98.4303 | 99.9909 | 99.9998 | 99.9988 | 92.0813 | 89.7781 | 83.8652 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_002_inner | 90.924 | 94.3242 | 95.2753 | 95.2755 | 95.1922 | 99.9882 | 99.9996 | 99.9988 | 95.0197 | 78.4289 | 64.1862 | 99.9988 | OPC Dta error |  |  | 1 | low | TRUE | FALSE
ang_mgn_440_ft_003 | 90.9786 | 94.4158 | 95.2533 | 95.2724 | 98.419 | 99.9841 | 99.9739 | 99.9988 | 92.2992 | 92.3745 | 99.5191 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_004 | 90.9941 | 94.5267 | 95.2555 | 95.2743 | 76.8314 | 99.986 | 99.9988 | 99.9988 | 96.3784 | 94.7405 | 98.6412 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | Laser out of ROI | OK | OK | APET's Method | 3 | [5 empty] | Y
ang_mgn_440_ft_005 | 90.9936 | 94.4303 | 95.2352 | 95.2741 | 96.5573 | 99.9726 | 99.9989 | 99.9988 | 88.8246 | 92.2022 | 98.6203 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_006 | 91.0118 | 94.3914 | 95.2552 | 95.2745 | 98.8579 | 99.9686 | 99.9986 | 99.9988 | 88.7518 | 88.6771 | 83.8537 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 3 | [5 empty] | Y
ang_mgn_440_ft_007 | 90.9403 | 94.3723 | 95.2572 | 95.2761 | 98.8587 | 99.986 | 99.9988 | 99.9988 | 89.696 | 88.607 | 83.8214 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_008 | 90.9524 | 94.4595 | 95.2351 | 95.2752 | 98.8584 | 99.9678 | 99.9979 | 99.9988 | 92.7571 | 92.2002 | 97.6902 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_009 | 90.9799 | 94.5406 | 95.1368 | 94.8597 | 95.3627 | 89.9289 | 99.9989 | 99.9988 | 91.9731 | 93.4754 | 99.3735 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_010 | 90.9968 | 94.6264 | 95.1957 | 95.2757 | 95.4172 | 89.9061 | 99.9935 | 99.9988 | 90.0248 | 90.0252 | 83.8538 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_011 | 91.0116 | 94.5786 | 95.1942 | 95.2774 | 95.74 | 89.9108 | 99.9988 | 99.9988 | 92.7484 | 92.5676 | 99.3212 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_012 | 90.9985 | 94.4599 | 95.117 | 95.1378 | 98.8745 | 99.967 | 99.9937 | 99.9988 | 90.6633 | 92.7057 | 99.5094 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_013 | 91.0002 | 94.5172 | 95.237 | 95.2773 | 96.9998 | 99.9663 | 99.9986 | 99.9988 | 92.8758 | 97.5461 | 99.5093 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_014 | 91.0001 | 94.6221 | 95.2563 | 95.2776 | 97.4557 | 89.9058 | 99.9998 | 99.9988 | 91.9674 | 96.0266 | 99.5094 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_015 | 91.0114 | 94.6223 | 95.2942 | 95.2734 | 79.1855 | 99.9664 | 99.9976 | 99.9988 | 91.3176 | 92.7196 | 99.5198 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | Ok | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_016 | 90.9814 | 94.5314 | 95.2743 | 95.2769 | 97.2517 | 99.9586 | 99.9988 | 99.9988 | 90.6766 | 94.6589 | 99.5198 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_017 | 91.0305 | 94.2148 | 95.2544 | 95.2731 | 98.4284 | 99.9572 | 99.9984 | 99.9988 | 91.3041 | 98.8819 | 99.5198 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_018 | 91.0201 | 94.5027 | 95.254 | 95.2735 | 98.8473 | 99.96 | 99.9993 | 99.9988 | 91.4079 | 97.4025 | 99.3845 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_019 | 91.0326 | 94.6517 | 95.2755 | 95.2774 | 96.5716 | 99.9899 | 99.9989 | 99.9988 | 93.7236 | 99.8816 | 99.5198 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_020 | 91.0407 | 94.6799 | 95.3336 | 95.2743 | 98.8106 | 99.9755 | 99.9991 | 99.9988 | 92.6289 | 99.7484 | 99.0203 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_021 | 91.0686 | 94.6222 | 95.3734 | 95.2747 | 98.8126 | 99.9749 | 99.9983 | 99.9988 | 91.9158 | 97.2428 | 99.5198 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_022 | 90.2568 | 94.5552 | 95.3541 | 95.2752 | 96.4921 | 99.9746 | 99.9971 | 99.9988 | 88.5198 | 96.0664 | 83.8289 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | Sunlight | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_023 | 91.0935 | 94.5891 | 95.4537 | 95.2756 | 94.9538 | 99.9336 | 99.9973 | 99.9988 | 94.3705 | 96.8362 | 99.2062 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_024 | 91.0678 | 94.656 | 95.4342 | 95.276 | 98.8162 | 99.9318 | 99.998 | 99.9988 | 92.8012 | 95.1308 | 99.5198 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | Dirty Lens | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_025 | 91.0781 | 94.7187 | 95.409 | 95.2766 | 91.6362 | 26.1497 | 0 | 0 | 92.9686 | 100 | 99.9998 | 99.9988 | Camera offline | MS-10754 | Awaiting on site | 0 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_026 | 91.0916 | 94.5892 | 95.4549 | 95.2764 | 98.5113 | 99.9309 | 99.9988 | 99.9988 | 91.8519 | 97.9911 | 99.5198 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_027 | 91.1088 | 94.6563 | 95.3739 | 95.2731 | 98.8137 | 99.9544 | 99.9991 | 99.9988 | 88.2934 | 93.506 | 83.8289 | 99.9988 |  |  |  | 1 | high | TRUE | FALSE | Calibration | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_028 | 91.0679 | 94.6353 | 95.3912 | 95.2695 | 91.9262 | 26.144 | 0 | 0 | 92.0631 | 100 | 99.9998 | 99.9988 | Camera offline |  |  | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_029 | 91.0658 | 94.5721 | 95.4483 | 95.2719 | 92.0326 | 26.1446 | 0 | 0 | 93.5698 | 100 | 99.9998 | 99.9988 | Camera offline |  |  | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_030 | 91.1063 | 94.6398 | 95.4485 | 95.2709 | 89.6917 | 26.1442 | 0 | 0 | 94.0678 | 94.2223 | 99.9998 | 99.9988 | Camera offline |  |  | 1 | high | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_033 | 79.5246 | 0 | 0 | 0 | 63.9372 | 0 | 0 | 0 | 99.7507 | 0 | 0 | 0 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_ft_047 | 79.5397 | 0 | 0 | 0 | 63.9916 | 0 | 0 | 0 | 99.7514 | 0 | 0 | 0 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | APET's Method | 4 | [5 empty] | Y
ang_mgn_440_pulp_008 | 63.965 | 61.6817 | 95.4245 | 95.2693 | 46.5253 | 61.3315 | 63.0651 | 61.8194 | 87.6513 | 0 | 0 | 0 | sensor will be upgraded to new hardware version | MS-6425 | Hardware to be possibly upgraded | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_440_pulp_009 | 65.3713 | 61.6538 | 95.429 | 95.277 | 38.9802 | 60.8907 | 62.312 | 60.7754 | 89.0476 | 0 | 0 | 0 | sensor will be upgraded to new hardware version | MS-6425 | Site to clean on a weekly basis possible | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_volume_407_cv1_dynamic | 25.4791 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 73.6162 | 0 | 0 | 0 |  | MS-10587 | Douglas is investigating | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_volume_407_cv3_dynamic | 24.3736 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 99.9979 | 0 | 0 | 0 |  | MS-10527 | Douglas is investigating | 0 | low | FALSE | FALSE |  |  | N/A
ang_mgn_width_407_cv1 | 44.4174 | 75.7188 | 90.797 | 95.6926 | 99.0727 | 100 | 99.9998 | 99.9988 | 73.5555 | 0 | 0 | 0 |  |  |  | 1 | high | FALSE | FALSE |  |  | N/A
ang_mgn_width_407_cv3 | 40.251 | 47.8645 | 90.8758 | 95.8291 | 99.9608 | 100 | 99.9998 | 99.9988 | 70.5123 | 0 | 0 | 0 |  |  |  | 1 | high | FALSE | FALSE |  |  | N/A
ang_mgn_crusha_lynxx_001 | 92.5851 | 94.7817 | 95.5931 | 95.2762 | 97.7635 | 100 | 99.9998 | 99.9988 | 93.2443 | 84.6384 | 93.4582 | 96.2788 |  |  |  | 1 | low | TRUE | FALSE | N/A | N/A | N/A | OK | 3
ang_mgn_crushb_lynxx_001 | 92.5727 | 94.8101 | 95.6128 | 95.2764 | 99.8415 | 99.9998 | 99.9998 | 99.9988 | 93.1815 | 82.8428 | 80.4168 | 79.1456 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | N/A | OK | 3
ang_mgn_crushbfeed_lynxx_001 | 92.6011 | 94.9637 | 95.6527 | 95.2763 | 92.238 | 99.9998 | 99.9991 | 99.9988 | 93.0953 | 77.4509 | 68.6523 | 65.9168 |  |  |  | 1 | low | FALSE | FALSE | N/A | N/A | N/A | OK | 3
ang_mgn_hpgrfeed_lynxx_001 | 92.6189 | 94.9109 | 95.6527 | 95.5544 | 100 | 100 | 99.9998 | 99.9988 | 93.3403 | 84.7981 | 86.6975 | 84.4558 |  |  |  | 1 | low | FALSE | FALSE | N/A | N/A | N/A | OK | 3 | [6 empty] | Calibration needed
ang_mgn_hpgrproduct_lynxx_001 | 92.6127 | 94.9348 | 95.6276 | 95.2716 | 92.9893 | 77.7796 | 90.9497 | 90.8939 | 92.5897 | 77.158 | 64.583 | 54.0339 |  |  |  | 1 | high | FALSE | FALSE | N/A | N/A | N/A | OK | 3 | [6 empty] | Calibration needed
ang_mgn_hpgrproduct_lynxx_002 | 92.6044 | 94.8745 | 95.608 | 95.2727 | 99.7109 | 100 | 99.9998 | 99.9988 | 95.8984 | 99.5139 | 99.6883 | 99.6342 |  |  |  | 1 | high | TRUE | TRUE
ang_mgn_server_aispprlynxx01 | 89.9973 | 92.322 | 94.2032 | 94.6146 | 99.9632 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
ang_mgn_server_aispprosa04 | 79.3016 | 81.5393 | 84.2202 | 85.3877 | 95.9047 | 86.4686 | 87.106 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
ang_mgn_server_health_system_health | 92.8981 | 95.5535 | 95.8474 | 95.6863 | 96.4432 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
ang_mgn_server_lynxxvolume | 53.9368 | 73.8719 | 88.8657 | 95.6852 | 92.7855 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [9 empty] | N/A
ang_mgn_pcrusheast_truckpsa_stats_001 | 92.391 | 95.3816 | 94.9745 | 95.4135 | 89.8878 | 99.8572 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrusheast_truckpsa_stats_002 | 67.2358 | 0 | 0 | 0 | 97.2302 | 0 | 0 | 0 | 100 | 100 | 99.9998 | 99.9988 |  |  | PTZ cameras not critical - ignore for now | 1 | med | FALSE | FALSE
ang_mgn_pcrusheast_truckpsa_stats_003 | 92.2391 | 95.3621 | 94.9753 | 95.4152 | 89.2724 | 99.8656 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrushwest_truckpsa_stats_001 | 92.8389 | 95.3335 | 95.0151 | 95.6916 | 97.9987 | 99.8242 | 99.8628 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrushwest_truckpsa_stats_002 | 67.4562 | 0 | 0 | 0 | 76.5539 | 0 | 0 | 0 | 100 | 100 | 99.9998 | 99.9988 |  |  | PTZ cameras not critical - ignore for now | 1 | med | FALSE | FALSE
ang_mgn_pcrushwest_truckpsa_stats_003 | 92.3218 | 95.3266 | 95.0041 | 95.6901 | 88.3805 | 99.6244 | 99.1804 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE
ang_mgn_pcrushwest_truckvolume_stats_001 | 31.6273 | 0 | 0 | 0 | 69.6647 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | Low RAM | MS- |  | 0 | med | FALSE | FALSE
[13 empty] | MGS |  | 100% | [17 empty] | MGS
ang_mgs_102_lynxx_cv001 | 90.541 | 90.6733 | 95.7926 | 95.8322 | 99.1492 | 97.3761 | 97.0936 | 99.9988 | 98.2148 | 99.9932 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | OK | 5 | [8 empty] | x | 42705
ang_mgs_402_lynxx_cv004 | 90.5709 | 90.5805 | 95.7125 | 95.6922 | 96.1909 | 99.271 | 99.9974 | 99.9867 | 99.5075 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | OK | 5
ang_mgs_402_lynxx_cv005 | 90.5845 | 90.5569 | 95.8128 | 95.8322 | 90.7747 | 97.6073 | 96.9569 | 97.7245 | 98.8993 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | Sunlight | OK | 5
ang_mgs_pcrusheast_truckpsa_stats_001 | 86.9168 | 41.9379 | 0 | 0 | 98.444 | 76.3023 | 0 | 0 | 96.8327 | 96.8327 | 94.5703 | 99.9988 | Commisioning still ongoing. |  | Analyte to write top_size_w to verify | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5 | [8 empty] | x | 42705
ang_mgs_pcrusheast_truckpsa_stats_002 | 32.6661 | 38.4614 | 0 | 0 | 0.0065668 | 0.0057592 | 0 | 0 | 96.8327 | 96.8327 | 94.5703 | 99.9988 | Commisioning still ongoing. |  | PTZ cameras not critical - ignore for now | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5
ang_mgs_pcrushwest_truckpsa_stats_001 | 87.2388 | 36.8838 | 0 | 0 | 98.6595 | 89.0063 | 0 | 0 | 96.8281 | 96.8281 | 94.5624 | 99.9988 | Commisioning still ongoing. |  | Analyte to write top_size_w to verify | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5
ang_mgs_pcrushwest_truckpsa_stats_002 | 32.9654 | 41.7947 | 0 | 0 | 0.0055862 | 0.0023694 | 0 | 0 | 96.8327 | 96.8327 | 94.5703 | 99.9988 | Commisioning still ongoing. |  | PTZ cameras not critical - ignore for now | 0 | med | FALSE | FALSE | OK | OK | Sunlight | OK | 5
ang_mgs_server_health_system_health | 45.4736 | 38.3423 | 95.6285 | 95.6898 | 100 | 99.9999 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | investigation to be done | [6 empty] | N/A | N/A | N/A | N/A
ang_mgs_server_aisppllynxx01 | 88.1603 | 88.2639 | 94.1123 | 93.3148 | 99.6128 | 95.3714 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | GDN |  | 100%
aco_gdn_cvpsa_001 | 90.5447 | 94.6329 | 95.1684 | 95.5529 | 97.2951 | 98.2149 | 99.9998 | 99.9988 | 99.3352 | 99.6935 | 99.906 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | N/A | OK | 5
aco_gdn_server_system_health | 86.8745 | 91.7992 | 93.5508 | 94.5544 | 99.8996 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
aco_gdn_server_system_health | 86.8745 | 91.7992 | 93.5508 | 94.5544 | 99.8996 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A
[13 empty] | MOT | 4 Sensors | 100% | [17 empty] | MOT
ang_mot_feed1_lynxx_001 | 92.3966 | 95.0452 | 95.6517 | 95.5531 | 98.7209 | 99.9591 | 99.9466 | 99.9988 | 99.8715 | 99.9874 | 99.9791 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_ft_001 | 91.8582 | 94.9291 | 95.6115 | 95.6915 | 95.0092 | 99.3492 | 99.9943 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_ft_002 | 91.9098 | 95.1113 | 95.7912 | 95.8309 | 99.874 | 99.36 | 99.986 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_ft_003 | 91.9118 | 94.9967 | 95.6319 | 95.689 | 99.8736 | 99.3411 | 99.9792 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42736
ang_mot_440_pulp_001 | 25.5259 | 62.2459 | 47.5943 | 0 | 97.6946 | 99.9555 | 99.9997 | 0 | 28.7578 | 65.8119 | 49.823 | 0 | Pulp cameras over exposed |  |  | 0 | low | FALSE | FALSE |  |  | N/A
ang_mot_440_pulp_002 | 27.4476 | 62.3778 | 47.6075 | 0 | 95.3093 | 99.9922 | 99.9552 | 0 | 30.6775 | 65.8213 | 49.8323 | 0 | Pulp cameras over exposed |  |  | 0 | low | FALSE | FALSE |  |  | N/A
ang_mot_440_pulp_003 | 22.8166 | 62.2833 | 47.5905 | 0 | 99.9966 | 99.9999 | 99.9997 | 0 | 25.7036 | 65.8128 | 49.8047 | 0 | Pulp cameras over exposed |  |  | 0 | low | FALSE | FALSE |  |  | N/A
ang_mot_server_aismotlnx01 | 90.212 | 92.5288 | 93.7545 | 94.6979 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
ang_mot_server_aismotlnx03 | 92.2052 | 95.1191 | 95.8525 | 95.8322 | 98.5294 | 85.3582 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | MOR | 8 Sensors | 100% | [17 empty] | MOT
aco_mor_primary_ft_301 | 92.5795 | 95.0375 | 95.1582 | 94.9994 | 95.5112 | 99.9785 | 99.9793 | 99.942 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_302 | 93.5325 | 95.1478 | 95.2178 | 95.4162 | 95.5523 | 99.9811 | 99.963 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_303 | 93.6223 | 95.1763 | 95.2572 | 95.4157 | 95.5656 | 99.9802 | 99.98 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_304 | 93.6007 | 95.1861 | 95.2574 | 95.4157 | 95.5362 | 99.9828 | 99.9962 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_305 | 93.9403 | 95.2242 | 95.297 | 95.4165 | 95.3848 | 99.9887 | 99.9915 | 99.9404 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_primary_ft_306 | 93.6583 | 95.0519 | 95.3566 | 95.4163 | 95.566 | 99.9755 | 99.9869 | 99.9561 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_secondary_ft_341 | 93.6717 | 95.0856 | 95.3764 | 95.5547 | 95.5293 | 99.9801 | 99.9634 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_secondary_ft_342 | 93.6853 | 95.0853 | 95.3962 | 95.4155 | 95.5093 | 99.9745 | 99.9791 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
aco_mor_server_frothsensor | 88.773 | 94.8085 | 94.9312 | 95.4711 | 95.9257 | 94.221 | 99.9998 | 99.9988 | [11 empty] | N/A | N/A | N/A | N/A
HEX
ang_ph2_server_aisph2frs01 | 89.8382 | 94.1216 | 95.4701 | 95.6493 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A
[13 empty] | AUG |  | 100% | [17 empty] | AUG
rus_aug_crushprod_lynxx_001 | 95.7724 | 92.7183 | 96.2812 | 96.2426 | 99.3082 | 100 | 99.9998 | 99.9988 | 99.9967 | 99.9972 | 99.9888 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5 | [9 empty] | 42826
rus_aug_server_aughbauxitemon | 95.4918 | 92.3135 | 95.9671 | 95.9745 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
WMER
[13 empty] | WUG2 |  | #DIV/0! | [17 empty] | WUG2
ang_wug2_feed1_lynxx_001 | 90.7057 | 92.194 | 95.8691 | 95.8245 | 99.9933 | 99.9982 | 99.9998 | 99.9988 | 72.1746 | 0.020739 | 0 | 0 | VPN accounts expired | MS-10212 | awaiting for approval | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 3 | [9 empty] | 42767
ang_wug2_server_aiswug2opa01 | 94.7587 | 91.8491 | 95.5957 | 95.9306 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | 3
[13 empty] | LET |  | #DIV/0! | [17 empty] | LET
gem_let_p1scrubberfeed_cvpsa_001 | 78.3986 | 42.1333 | 0.32479 | 0.27902 | 89.1187 | 57.0468 | 0 | 0 | 93.0803 | 100 | 99.9998 | 99.9988 | Network issues onn-site |  |  | 0 | low | FALSE | FALSE | OK | Off | OK | OK | 5 | [9 empty] | 42705 |  |  | Writing |  | Talk to client about reference story/ Introduced to client
gem_let_p2scrubberfeed_cvpsa_001 | 71.1197 | 34.2192 | 0.3248 | 0.27904 | 95.516 | 57.1428 | 0 | 0 | 93.9818 | 100 | 99.9998 | 99.9988 | Network issues onn-site |  |  | 0 | low | FALSE | FALSE | OK | Off | OK | OK | 5 | [14 empty] | Need a belt cut to sort out issues with calibration model |  | Jarien/Carl
gem_let_pca_truckpsa_stats_001 | 82.5312 | 92.7076 | 96.2851 | 96.2178 | 66.4729 | 53.8274 | 0.001733 | 0 | 65.3955 | 100 | 99.9998 | 99.9988 |  |  |  | 0 | low | FALSE | FALSE | OK | Off | OK | OK | 5
gem_let_server_health_system_health | 88.9349 | 92.3372 | 96.0033 | 96.3785 | 98.8877 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | LIQ |  | #DIV/0! | [17 empty] | LIQ
fsd_liq_100_lynxx_psa002 | 16.2286 | 0 | 0 | 0 | 96.072 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | SLA expired |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5 | [9 empty] | 42705
fsd_liq_server_mje852e1vr3 | 16.1727 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A | [14 empty] | VMA report (on Hold) | 42705 | Jarien
[13 empty] | KEV |  | 100% | [17 empty] | KEV
bol_kev_3110_truck_stats_crg01 | 65.5852 | 0 | 0 | 0 | 97.8363 | 0 | 0 | 0 | 77.1907 | 86.3832 | 99.9998 | 99.9988 | offline/ not tipping |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5 | [9 empty] | 42705
bol_kev_3110_truck_stats_crg02 | 30.8183 | 92.4109 | 96.0845 | 95.8234 | 99.9883 | 99.9757 | 99.9644 | 99.9988 | 77.193 | 86.3865 | 99.9998 | 99.9988 | OPC errors |  |  | 1 | med | TRUE | FALSE | N/A | N/A | N/A | OK | 5 | [9 empty] | 42705
bol_kev_server_kevsrvlaser02 | 94.4586 | 91.6739 | 95.5661 | 95.6366 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A | N/A
[13 empty] | BRK | 15 Sensors | 60% | [17 empty] | BLC
asm_brc_nch2_lynxx_50ps20an46 | 83.8421 | 83.1602 | 58.8344 | 0 | 99.1647 | 98.4717 | 97.7257 | 0 | 98.4476 | 94.5729 | 78.2918 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch2_lynxx_50ps60an47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99.9993 | 99.9926 | 99.9998 | 99.9988 | site adviced to ignore NO ore |  |  | 0 | low | FALSE | FALSE | N/A | N/A | N/A | OK | 5
asm_brc_nch2_lynxx_50ps70an48 | 83.8516 | 83.2076 | 58.8292 | 0 | 54.7999 | 0 | 0 | 0 | 100 | 100 | 99.9998 | 99.9988 | Bad image |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch2_lynxx_50pw15an49 | 83.8654 | 83.2206 | 58.8598 | 0 | 99.4832 | 99.1273 | 97.6939 | 0 | 98.3765 | 94.5736 | 78.2943 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch2_lynxx_51jw64an02 | 83.8649 | 83.2047 | 58.8743 | 0 | 99.9445 | 99.999 | 99.9987 | 0 | 90.6165 | 94.5774 | 78.3097 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_50ls06an03 | 87.1676 | 82.6912 | 57.1394 | 95.6942 | 99.5612 | 99.7431 | 99.003 | 99.9117 | 99.7138 | 99.5194 | 99.8205 | 99.8512 |  |  |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_50ls11an04 | 88.5638 | 82.7706 | 57.1397 | 95.6893 | 99.2391 | 98.5417 | 96.9716 | 98.041 | 99.676 | 99.6165 | 99.7993 | 99.774 |  |  |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60pp05an42 | 89.8764 | 92.5718 | 96.3277 | 96.109 | 99.3825 | 99.1438 | 97.9727 | 99.6423 | 96.9185 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60ps20an43 | 89.8808 | 92.6293 | 96.3675 | 96.1092 | 99.6978 | 99.6884 | 99.9559 | 99.9988 | 96.9198 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60ps25an44 | 89.8799 | 92.5477 | 96.3269 | 96.1103 | 89.7057 | 99.9566 | 99.982 | 99.9988 | 96.9197 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_nch3_lynxx_60pt25an45 | 89.8831 | 92.5959 | 96.3673 | 96.2468 | 99.259 | 99.0478 | 98.7754 | 99.2628 | 96.9198 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_glo_70pn42an74_cvpsa_001 | 76.029 | 91.4809 | 95.9665 | 95.9656 | 96.9901 | 100 | 99.9998 | 99.9988 | 79.7037 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_glo_70pn44an79_cvpsa_001 | 74.1161 | 74.5546 | 79.2877 | 95.9667 | 99.9653 | 100 | 99.9998 | 99.9988 | 79.5055 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | FALSE | OK | OK | OK | OK | 5
asm_brc_glo_70pn46an85_cvpsa_001 | 63.5286 | 17.4165 | 5.5739 | 5.0111 | 99.8495 | 100 | 99.9998 | 99.9988 | 76.9711 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_glo_70pn20an25_cvpsa_001 | 76.4518 | 91.5242 | 95.9482 | 95.8283 | 100 | 100 | 99.9998 | 99.9988 | 79.5003 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | OK | OK | 5
asm_brc_glo_70pn10an01_cvpsa_001 | 67.941 | 91.1899 | 95.3304 | 95.6342 | 92.4958 | 46.9924 | 0 | 0 | 73.6747 | 100 | 99.9998 | 99.9988 | To be checked |  |  | 1 | low | FALSE | FALSE | OK | OK | OK | OK | 5
asm_brc_server_blackrocklynxx1 | 89.63 | 92.1944 | 95.8512 | 95.8241 | 99.0318 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx2 | 84.9405 | 91.4522 | 94.1429 | 95.7176 | 89.8703 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx3 | 89.69 | 91.9791 | 95.7817 | 95.9201 | 99.8788 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx4 | 87.2079 | 82.0543 | 56.5109 | 93.3009 | 98.7353 | 95.7356 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
asm_brc_server_blackrocklynxx5 | 81.121 | 91.092 | 95.5645 | 95.8287 | 94.0642 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | ASA |  | 0%
asa_asa_0112_lynxx_001 | 72.6913 | 0 | 0 | 0 | 96.5899 | 0 | 0 | 0 | 100 | 0 | 0 | 0 |  | MS-10248 | Issue escalated to IT and VOX | 1 | med | FALSE | FALSE | OK | OK | Sunlight in the evening | OK | 5
asa_asa_server_lynxxserver | 72.4602 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [5 empty] | FALSE | FALSE | N/A | N/A | N/A | N/A
GGL | [12 empty] | GGL | 0 Sensors | #DIV/0!
exx_ggl_1000_lynxx_002 | 59.6983 | 0 | 0 | 0 | 1.1985 | 0 | 0 | 0 | 99.9905 | 0 | 0 | 0 |  |  | SLA Ceased | 0 | high | FALSE | FALSE | OK | OK | OK | OK | 5
exx_ggl_1000_lynxx_001 | 59.6815 | 0 | 0 | 0 | 59.6704 | 0 | 0 | 0 | 99.9743 | 0 | 0 | 0 |  |  |  | 0 | high | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_1000_cvpsa_001 | 55.5022 | 0 | 0 | 0 | 53.7072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_pr01_cvpsa_001 | 48.9963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98.0774 | 0 | 0 | 0 |  |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_pr02_cvpsa_001 | 52.7016 | 0 | 0 | 0 | 67.7183 | 0 | 0 | 0 | 99.2355 | 0 | 0 | 0 |  |  |  | 0 | med | FALSE | FALSE | N/A | N/A | N/A | OK | 5
exx_ggl_server_ggpaapv13 | 59.7193 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
exx_ggl_server_system_health | 55.5241 | 0 | 0 | 0 | 85.1807 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | BLF |  | 100%
exx_belf_lynxx_001 | 83.0273 | 89.7472 | 93.0528 | 95.1358 | 98.3238 | 100 | 99.9998 | 99.9988 | 99.8167 | 99.9974 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE
exx_belf_server_system_health | 83.0179 | 89.7261 | 92.9347 | 94.7558 | 100 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A
[13 empty] | KAO | 9 Sensors | 88.89%
smd_kao_cv001_lynxx_001 | 95.543 | 94.7757 | 92.0943 | 96.3755 | 99.2586 | 99.1213 | 98.0084 | 87.5939 | 99.9997 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | FALSE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv002_lynxx_001 | 95.5324 | 94.7326 | 92.0077 | 96.1082 | 99.4143 | 99.9756 | 99.9998 | 99.9988 | 99.9991 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv005_lynxx_001 | 95.5443 | 94.7449 | 92.0168 | 96.2437 | 99.8116 | 99.7364 | 99.4318 | 99.7099 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv010_lynxx_001 | 95.5564 | 94.7689 | 92.0169 | 96.38 | 99.371 | 99.883 | 99.9998 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv015_lynxx_001 | 95.5611 | 94.7837 | 92.0947 | 96.3814 | 99.5223 | 99.9986 | 99.9998 | 99.9988 | 99.9983 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv023_lynxx_001 | 95.5591 | 94.7931 | 92.0975 | 96.3875 | 99.9433 | 99.9014 | 99.7984 | 99.6424 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv504_lynxx_001 | 95.5565 | 94.7492 | 91.975 | 96.3882 | 96.1047 | 99.9759 | 99.9083 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv026_lynxx_001 | 95.5046 | 94.7541 | 91.9536 | 96.3826 | 99.688 | 99.8698 | 99.6625 | 98.9888 | 99.9998 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_cv504_lynxx_002 | 94.9127 | 94.7571 | 91.9398 | 96.3888 | 99.1323 | 99.9951 | 99.9806 | 99.9988 | 100 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | high | TRUE | TRUE | OK | OK | OK | OK | 5
smd_kao_server_lynxxserver | 95.0541 | 94.3241 | 91.6037 | 96.3044 | 98.1864 | 94.7998 | 94.2571 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | VED | 8 Sensors | 75%
ved_gam_cv1_cvpsa_001 | 93.0263 | 93.3621 | 96.1684 | 96.1717 | 89.7396 | 100 | 99.9998 | 99.9988 | 86.5625 | 96.2485 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_001 | 91.9491 | 92.5469 | 95.6267 | 95.8834 | 56.2758 | 0 | 0 | 0 | 89.4473 | 96.2446 | 99.9998 | 99.9988 | faulty laser | MS-9719 | awaiting site site to check | 0 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_002 | 92.9389 | 93.4086 | 96.2185 | 96.1636 | 88.0414 | 98.2285 | 99.9998 | 99.9988 | 85.7623 | 96.2522 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_003 | 93.0182 | 93.3706 | 96.1222 | 96.1716 | 96.6649 | 100 | 99.9998 | 99.9988 | 86.7904 | 96.239 | 99.9998 | 99.9988 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_004 | 93.0557 | 88.0947 | 84.5866 | 96.5276 | 96.6324 | 99.9472 | 99.9853 | 99.9988 | 85.8 | 81.2758 | 91.6226 | 78.2657 |  |  |  | 1 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_cv2_cvpsa_005 | 93.0285 | 88.0185 | 84.2918 | 96.5071 | 94.4189 | 99.491 | 99.025 | 99.4119 | 83.1642 | 50.4875 | 91.6226 | 78.2657 |  |  |  | 1 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_001 | 93.0003 | 95.1631 | 94.9829 | 95.8259 | 73.79 | 99.9112 | 99.9824 | 99.9988 | 83.4516 | 96.7667 | 99.5747 | 99.8901 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_002 | 92.9938 | 95.0906 | 95.0313 | 95.824 | 93.9352 | 99.9781 | 99.9998 | 99.9988 | 79.811 | 95.1912 | 98.2434 | 97.6876 |  |  |  | 1 | med | TRUE | TRUE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_003 | 92.9914 | 95.1024 | 94.8836 | 95.8219 | 80.0298 | 94.8431 | 92.341 | 98.753 | 87.6354 | 96.8315 | 99.5421 | 99.7099 |  |  |  | 1 | med | TRUE | FALSE | OK | OK | OK | OK | 5
ved_gam_truckpsa_stats_004 | 92.9921 | 95.1852 | 95.0292 | 95.8231 | 73.8158 | 0.017529 | 0.020762 | 0.03627 | 82.3811 | 97.5496 | 99.9998 | 99.9988 | camera faulty | MS_9718 | awaiting for Crane | 0 | med | FALSE | FALSE | OK | OK | OK | OK | 5
ved_gam_truckvolume_stats_001 | 93.2889 | 94.2272 | 93.7773 | 91.1045 | 34.1434 | 0.086864 | 0.064373 | 0.11452 | 87.3762 | 82.7494 | 98.5293 | 94.4341 | Laser issue | MS-8604 | Still waiting for repairs to be concluded | 0 | med | FALSE | FALSE
ved_gam_truckvolume_stats_002 | 93.354 | 94.1875 | 93.7153 | 91.055 | 83.5555 | 0.061813 | 0.040787 | 0.050915 | 87.4604 | 82.7485 | 98.5269 | 94.434 | Laser issue |  |  | 0 | med | FALSE | FALSE
ved_gam_server_system_health | 92.4449 | 87.3142 | 83.5432 | 95.6713 | 99.9903 | 100 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | Royal Bafokeng |  | #DIV/0!
rbp_mas_millfeed_cvpsa_001 | 46.7573 | 30.9174 | 0 | 0 | 100 | 99.9999 | 0 | 0 | 9.7163 | 0 | 0 | 0 | Replication issues /Maseve network down | MS-10242 | S3a server installation in progress/waiting on client for firewall rules | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
rbp_mas_millfeed_server_system_health | 40.3032 | 23.9797 | 0 | 0 | 95.7433 | 99.9999 | 0 | 0 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | GoldFields |  | #DIV/0!
gol_cca_pulp_001 | 34.2804 | 15.9732 | 66.1746 | 95.8042 | 99.9735 | 99.9998 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 | vpn issue/ Support VPN accounts deleted | MS-10156 | PM requested account extension | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
gol_cca_pulp_002 | 35.3458 | 15.9663 | 66.1459 | 95.9322 | 100 | 99.9998 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
gol_cca_pulp_003 | 36.392 | 15.9767 | 66.1893 | 95.9345 | 99.9989 | 99.9998 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE
gol_cca_server_system_health | 10.2567 | 15.8847 | 65.8082 | 95.7257 | 100 | 99.9998 | 99.9998 | 99.9988 | N/A | N/A | N/A | N/A | [7 empty] | N/A | N/A | N/A | N/A
[13 empty] | SPM | 0 Sensors | #DIV/0!
spm_ppm_ft_300_02 | 79.5735 | 82.8285 | 68.9102 | 0.65239 | 88.1875 | 27.1657 | 75.5538 | 0 | 0 | 0 | 0 | 0 | Camera error |  | Site PLC server room was hit by thunder lighting (01/02/2023 | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_04 | 79.3659 | 82.3154 | 68.9421 | 0.54701 | 87.9801 | 28.2832 | 76.2985 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_06 | 79.6458 | 83.1572 | 70.0213 | 0.54714 | 88.0589 | 26.8003 | 71.6868 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_08 | 79.4837 | 82.9968 | 69.458 | 0.69501 | 87.8102 | 27.0816 | 75.1821 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_10 | 79.5102 | 83.5072 | 71.4612 | 0.92633 | 87.2012 | 26.0928 | 71.1211 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_300_12 | 78.6596 | 82.5425 | 68.4607 | 0.54711 | 87.6666 | 28.2378 | 75.624 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_02 | 79.422 | 83.2396 | 70.592 | 0.54696 | 87.8326 | 25.9801 | 70.9275 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_04 | 79.5132 | 82.7963 | 68.7572 | 0.54712 | 87.9892 | 26.5689 | 73.3739 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_06 | 79.7395 | 83.3727 | 71.0152 | 0.92631 | 87.5185 | 26.0301 | 70.0867 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_08 | 79.4426 | 82.7675 | 68.3441 | 0.54697 | 87.7694 | 26.3493 | 72.182 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_10 | 79.4517 | 83.4715 | 71.254 | 0.8324 | 87.9934 | 26.1665 | 70.9294 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_12 | 79.5544 | 83.3841 | 70.8918 | 0.92626 | 87.51 | 26.1787 | 71.8263 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_14 | 79.4563 | 82.9715 | 70.4609 | 0.92567 | 87.8469 | 27.618 | 72.6533 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_16 | 79.5203 | 82.9504 | 69.1552 | 0.92628 | 87.8932 | 26.5228 | 72.7139 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
spm_ppm_ft_340_18 | 73.4882 | 60.442 | 7.6488 | 0.54703 | 83.5029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Old data |  |  | 0 | low | FALSE | FALSE | OK | OK | OK | OK | 5
[13 empty] | NMT |  | #DIV/0!
nmt_bod_cvpsa_001 | 54.8392 | 23.354 | 0 | 0 | 99.998 | 99.9999 | 0 | 0 | 66.563 | 66.8452 | 0 | 0 |  |  | Trial Ended | 0 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
nmt_bod_server_system_health | 70.8498 | 24.7808 | 0 | 0 | 99.997 | 99.9999 | 0 | 0 | N/A | N/A | N/A | N/A |  |  |  | 0 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
[13 empty] | ROS |  | #DIV/0!
ros_ara_cvpsa_crusher_psd_001 | 94.1592 | 96.293 | 96.5452 | 96.5239 | 75.5916 | 70.9016 | 69.2735 | 71.6887 | 87.1788 | 87.7137 | 89.2662 | 91.4347 | Commisioning still ongoing. |  |  | 0 | low | FALSE |  | OK | OK | N/A | OK | 5
ros_ara_truck_crusher_psd_stats_001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.6413 | 4.5894 | 12.8248 | 0 | Commisioning still ongoing. |  |  | 0 | low | FALSE | FALSE
ros_ara_truck_gantry_psd_stats_001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.7349 | 80.7903 | 99.9998 | 99.9988 | Commisioning still ongoing. |  |  | 0 | low | FALSE | FALSE
[13 empty] | ANG LBR |  | 100%
FALSE
ang_lbr_ft_lt2_r1_c1 | 91.6644 | 91.6644 | 91.6644 | 91.6638 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c2 | 91.6665 | 91.6665 | 91.6665 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c3 | 91.6662 | 91.6662 | 91.6662 | 91.6662 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c4 | 91.6657 | 91.6657 | 91.6657 | 91.6662 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c5 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c6 | 91.6658 | 91.6658 | 91.6658 | 91.6664 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c7 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r1_c8 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c1 | 91.6664 | 91.6664 | 91.6664 | 91.6661 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c2 | 91.6658 | 91.6658 | 91.6658 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c3 | 91.6666 | 91.6666 | 91.6666 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c4 | 91.6664 | 91.6664 | 91.6664 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c5 | 91.6659 | 91.6659 | 91.6659 | 91.6665 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c6 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c7 | 91.666 | 91.666 | 91.666 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r2_c8 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c1 | 91.6665 | 91.6665 | 91.6665 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c2 | 91.6664 | 91.6664 | 91.6664 | 91.6661 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c3 | 91.6664 | 91.6664 | 91.6664 | 91.6665 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c4 | 91.6665 | 91.6665 | 91.6665 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c5 | 91.6657 | 91.6657 | 91.6657 | 91.6664 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c6 | 91.6659 | 91.6659 | 91.6659 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c7 | 91.6657 | 91.6657 | 91.6657 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_r3_c8 | 91.6658 | 91.6658 | 91.6658 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c1 | 91.6651 | 91.6651 | 91.6651 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c2 | 91.666 | 91.666 | 91.666 | 91.6665 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c3 | 91.666 | 91.666 | 91.666 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c4 | 91.6651 | 91.6651 | 91.6651 | 91.6639 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c5 | 91.6662 | 91.6662 | 91.6662 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c6 | 91.6662 | 91.6662 | 91.6662 | 91.6666 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c7 | 91.6659 | 91.6659 | 91.6659 | 91.6662 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
ang_lbr_ft_lt2_s1_c8 | 91.6665 | 91.6665 | 91.6665 | 91.6663 | 99.9996 | 99.9996 | 99.9996 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 1 | low | TRUE | TRUE
[13 empty] | BCS EFM |  | 0%
bcs_efm_ft_001 | 74.2706 | 96.7543 | 96.8343 | 96.6892 | 98.4237 | 99.9873 | 99.9998 | 99.9988 | 0 | 0 | 0 | 0 |  |  | No Access | 1 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
bcs_efm_pulp_001 | 22.5453 | 0 | 0 | 0 | 99.962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pulp removed |  |  | 0 | low | FALSE | FALSE | OK | OK | N/A | OK | 5
[13 empty] | DEB NUJ |  | 100%
deb_nuj_ppsc01_cvpsa_001 | 74.7532 | 92.3455 | 96.067 | 95.6898 | 98.82 | 100 | 99.9998 | 99.9988 | 92.2352 | 100 | 99.9998 | 99.9988 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | N/A | OK | 5
deb_nuj_server_system_health | 81.5449 | 91.9183 | 95.3652 | 95.64 | 88.7163 | 89.0814 | 65.7236 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  |  | low | TRUE | FALSE | OK | OK | N/A | OK | 5
[13 empty] | DEB VEN v2 |  | #DIV/0!
deb_ven_cvpsa_rno_cnv001_001 | 78.7242 | 89.0101 | 92.8822 | 95.9704 | 96.2255 | 99.2506 | 99.9998 | 99.9988 | 95.3456 | 98.4291 | 97.0259 | 99.8178 |  |  |  | 1 | low | TRUE | TRUE | OK | OK | N/A | OK | 5
deb_ven_ft_df2scn002_002 | 92.0937 | 92.3095 | 96.0709 | 95.8328 | 99.6986 | 99.159 | 99.9491 | 99.9988 | 38.3921 | 23.6061 | 99.9996 | 99.9988 |  |  |  | 0 | low | TRUE | FALSE | OK | OK | N/A | OK | 5
[13 empty] | APS |  | #DIV/0!
aps_ukn_440_ft_001 | 70.284 | 10.8574 | 0.10485 | 0 | 99.9526 | 99.7837 | 99.9998 | 0 | 80.066 | 98.7936 | 99.1249 | 0 |  |  |  | 0 | low | FALSE | 0 | OK | OK | N/A | OK | 5
[13 empty] | DEB VEN v3 |  | 100%
deb_nuj_ppsc01_cvpsa_001 | 74.7532 | 92.3455 | 96.067 | 95.6898 | 98.82 | 100 | 99.9998 | 99.9988 | 92.2352 | 100 | 99.9998 | 99.9988 | Still in comissioning |  |  | 1 | low | TRUE | TRUE | OK | OK | N/A | OK | 5
deb_nuj_server_system_health | 81.5449 | 91.9183 | 95.3652 | 95.64 | 88.7163 | 89.0814 | 65.7236 | 99.9988 | N/A | N/A | N/A | N/A |  |  |  | 0 | low | TRUE | FALSE | OK | OK | N/A | OK | 5
[15 empty] | Total Sensors | 248
[15 empty] | Sensors currently counted | 186 | 75%
[15 empty] | Monthly Sensor Status KPI | 65.61%